## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Cosmos Bank |  |  | Date :- | 07.10.2024
Site Address: - 1st Floor A Wing Station Plaza, Station Road, Bhandup (W), Mumbai
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Server Room | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
2 | BM Cabin | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
3 | Enterance | 1.5 TR Hi Wall Unit | Nos. | 1 |  | 0
4 | Staff Area | 2.2 TR Hi Wall Unit | Nos. | 2 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Dismantling Of Existing Hi Wall Unit |  | Nos. | 4 | 1000 | 4000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of 1.0 TR , 1.5 TR & 2.2 TR |  | Nos. | 4 | 1500 | 6000
3 | Refrigeration Piping for 1.0 TR ,1.5 TR & 2.2 TR |  | Mtrs. | 65 | 850 | 55250
4 | Interconnecting Cable Indoor & Outdoor - 3 Core |  | Mtrs. | 67 | 140 | 9380
5 | Interconnecting Cable Indoor & Outdoor - 4 Core |  | Mtrs. | 67 | 160 | 10720
6 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 34 | 120 | 4080
7 | Outdoor Unit Stand L - Type |  | Nos. | 1 | 850 | 850
8 | Drain Pump |  | Nos. | 1 | 6500 | 6500 | If Required
D | TOTAL BASIC LOW SIDE |  |  |  |  | 96780
E | GST@ 18% |  |  |  |  | 17420.4
F | Total Low Side Value |  |  |  |  | 114200.4
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 114200.4
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals