## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | AEON AIRCONDITIONING SOLUTIONS |  |  | Date :- | 07.05.2026
Site Address: - Adani Reality Mistry Construction Co Pvt Ltd, 9 PBR, Sector 58A, Seawoods, Navi Mumbai, Maharashtra, 400706.
Purchase Order: 4800085041 | LOCATION | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | [ INSTALL, HVAC SYSTEM ] - LOW SIDE Work: Shifting and Standard Installation, testing and commissioning of ODU, high wall unit, refrigerant piping with insulation (nitrile rubber), drain piping, stand, brackets, power and communication cable all complete set. |  | Nos. | 7 | 1600 | 11200
2 | Existing Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of 1.5 TR & 1.0 TR Hi Wall Unit |  | Nos. | 5 | 1600 | 8000
3 | [ SITC, PIPE, COPPER, SUCTION ] - Supply, Installation, Testing, and commissioning of refrigerant copper pipe with nitrile rubber insulation |  | Mtrs. | 100 | 950 | 95000
4 | [ SITC, CABLE, CU, 4CX2.5 MM2 ] - SITC of Interconnecting power and communication cable 4CX2.5 Sq.MM. |  | Mtrs. | 125 | 130 | 16250 |  | Main Supply including in Cable
5 | Main Supply Cable Indoor & Outdoor 3C x 1.0mm |  | Mtrs. | 125 | 130 | 16250 | NON RC | 18 mtr need to adjust in this of 04 machines previously done
6 | [SITC, DRAIN PIPE] - Drain Piping PVC 25MM pipe |  | Mtrs. | 70 | 120 | 8400 |  | 04 Drain need to adjust
7 | [SITC, BRACKET ASSEMBLY] SUPPLY, ERECTION, TESTING & COMMISSIONING OF SINGLE BRACKET ASSEMBLY (CONVENTIONAL) WITH 1050 MM CD PORCELAIN INSULATORS, 7 MM INCLINED DROPPER COMPLETE WITH ALL FITTINGS. |  | Nos. | 12 | 750 | 9000
A | TOTAL BASIC LOW SIDE |  |  |  |  | 164100
B | GST@ 18% |  |  |  |  | 29538
C | Total Low Side Value |  |  |  |  | 193638
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals