## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | AU Small Finance Bank |  |  | Date :- | 13.11.2025
Site Address: - Ground Floor shop no. 7,8,9 Sharda Royce Ulhasnagar – 421002
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Work Station | 3.0 TR Cassette Unit | Nos. | 4 |  | 0
2 | ATM | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
3 | BM Cabin | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
4 | Meeting Room | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
5 | Network Room | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 18% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 3.0 TR |  | Nos. | 4 | 3000 | 12000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR |  | Nos. | 4 | 1400 | 5600
3 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 65 | 950 | 61750
4 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 76 | 800 | 60800
5 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 155 | 150 | 23250
6 | Interconnecting Cable Indoor & Outdoor 3C/1.5 Sqmm |  | Mtrs. | 50 | 130 | 6500
7 | Drain Pipe 25 mm PVC Pipe with insulation |  | Mtrs. | 32 | 150 | 4800
8 | Drain Pipe 32 mm PVC Pipe with insulation |  | Mtrs. | 34 | 170 | 5780
9 | Outdoor Unit Fabricated Platform Stand |  | Kgs. | 210 | 160 | 33600
10 | Drain Pump |  | Nos. | 2 | 6500 | 13000
11 | Core Cutting |  | Nos. | 4 | 2500 | 10000
12 | Chiseling Work |  | Mtrs. | 30 |  | 0 | Not in our scope
13 | Scaffolding Charges for Indoor hanging with transportation |  | Nos. | 1 | 22000 | 22000
14 | Lifting Shifting |  | L/S | 1 | 5500 | 5500
D | TOTAL BASIC LOW SIDE |  |  |  |  | 264580
E | GST@ 18% |  |  |  |  | 47624.4
F | Total Low Side Value |  |  |  |  | 312204.4
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 312204.4
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals