## Low Side
REF | [6 empty] | DATE | 04.06.2024
BOQ FOR HI WALL & CASSETTES
Customer Name |  | Bandhan Bank
HI-SIDE DETAILS |  | SITE NAME = | Shop No. 12 & 13, 1st Floor, Om Baba Bhalchandra Mall, Opp. S. M. High School, Beside Mumbai - Goa Highway, Kankavali - 416640.
LOW SIDE WORK
S. No. | PARTICULARS |  |  | UNIT | QTY. | BASIC RATE | AMOUNT
Standard Installation , pressure testing, vacummizing, testing & commissioning of Hi Wall unit
1a | SITC of Hi Wall unit |  |  | Nos. | 2 | 1500 | 3000
1b | SITC of 1.5 TR Cassette unit |  |  | Nos. |  | 3000 | 0
1c | SITC of 2 TR Cassette unit |  |  | Nos. |  | 3000 | 0
1d | SITC of 3.0 TR & 4 TR Cassette unit |  |  | Nos. |  | 3000 | 0
| DISMANTLING IF ANY (FOR REPLACEMENT SITES ONLY ) | [5 empty] | 0
2a | Dismantling of Hi Walls |  |  | Nos. | 2 | 1050 | 2100
2b | Dismanting of Cassettes |  |  | Nos. |  | 2100 | 0
| REFRIGERANT PIPING | [5 empty] | 0
3a | Refrigerant Piping for 1.0 TR Hi wall Unit |  |  | Rmt. |  | 750 | 0
3b | Refrigerant Piping for 1.5 TR Hi wall Unit |  |  | Rmt. |  | 850 | 0
3c | Refrigerant Piping for 1.8 TR Hi wall Unit |  |  | Rmt. | 25 | 950 | 23750
3d | Refrigerant Piping for 1.5 TR Cassette |  |  | Rmt. |  | 950 | 0
3e | Refrigerant Piping for 2.0 TR Cassette |  |  | Rmt. |  | 950 | 0
3f | Refrigerant Piping for 3.0 TR Cassette Unit |  |  | Rmt. |  | 900 | 0
3g | Refrigerant Piping for 4 TR Unit |  |  | Rmt. |  | 1150 | 0
4 | Control Cable | [5 empty] | 0
4.a | 3C/1.5 SQMM |  |  | Rmt. |  | 110 | 0
4.b | 4C/2.5 SQMM |  |  | Rmt. | 27 | 145 | 3915
4.c | 4C/4.0 SQMM |  |  | Rmt. |  | 190 | 0
4.d | 4C/6.0 SQMM |  |  | Rmt. |  | 250 | 0
5a | Drain Pipe 25 mm thick Hard Pvc |  |  | Rmt. | 20 | 90 | 1800
5b | Drain Pipe 32 mm thick Hard Pvc |  |  | Rmt. |  | 150 | 0
| Standard "L" Type OUTDOOR UNIT | [5 empty] | 0
6a | Outdoor Unit Jumbo Stand for Hi Wall Unit |  |  | Nos. | 2 | 1200 | 2400 |  | Note:- Not in RC
6b | Outdoor Unit Stand for 1.5 TR |  |  | Nos. |  | 1500 | 0
6c | Outdoor Unit Stand for 2.0 TR Cassette |  |  | Nos. |  | 1500 | 0
6d | Outdoor Unit Stand for 3.0 TR & 4.0 TR Cassette |  |  | Nos. |  | 1500 | 0
7 | Catwalk stand if required will be as per site |  |  | Kg |  | 245 | 0
8 | Refrigerant Top Up |  |  | kg |  | 1200 | 0
9 | Cable Tray |  |  | Rmt. |  | 850 | 0
10 | Core Cutting |  |  | per Hole |  | 1800 | 0
11 | Chiselling of Split Ac and Cassette AC |  |  | Rmt. |  | 150 | 0
12 | Pump |  |  | Nos. |  | 5400 | 0
13 | Iron Caging for Outdoor units of Ground Floor |  |  | Kg |  | 245 | 0
E | TOTAL BASIC LOW SIDE | [5 empty] | 36965
F | GST |  |  | @ | 18% |  | 6653.7
G | Final Total | [5 empty] | 43618.7
G
Any variation in quantities shall be charged as per actual
Civil / Masonry work , Lifting shifting of Machine if done shall be charged extra
Please mention in your PO - The " Billing To" & " Shipping To) Address
Please mention in your PO - The " GST No of Bill To & Ship To address
| ORDER | To be placed on - Daikin ( Branch Name)
Daikin Banch address
Daikin GST Number
| Low side dealer Firm's Name : |  | AEON AIRCONDITIONING SOLUTIONS
Dealer code :
| Contact person 1 (Project Incharge) : |  | Ms. Pradnya Gaikwad
| Contact No. 1 : |  | 9137940454
| Contact person 2 (Propreitor) : |  | MOHD. ASIM JAWED SHAIKH
| Contact No. 2 : |  | 9820580008
| Email Id : |  | support@aeonacsolutions.com
| Address : |  | Rutu Park, OFFICE NO.108, 109, Devashree Gardens Wing D, RW Sawant Road, THANE WEST, THANE, Thane, Maharashtra, 400601
| GST Number : |  | 27AYYPS2229K1ZK
| PAN Number : |  | AYYPS2229K