## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Home Interior Designs E-commerce Pvt Ltd |  |  | Date :- | 01.05.2025
Site Address: - 2nd Floor, B129-B121, Hoshangabad Road, Sector B, Vidhya Nagar, Bhopal, Madhya Pradesh 462026. Dist.-BHOPAL
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Work Area | 2.0 TR Hi Wall Unit | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Dismentaling of Existing Indoor Cassette Unit -2.0 TR Voltas |  | Nos. | 1 | 1800 | 1800
2 | Re - Installation of indoor, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 2.0TR Voltas |  | Nos. | 1 | 2800 | 2800
3 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 2.0TR |  | Nos. | 1 | 1250 | 1250
4 | Refrigeration Piping for Cassette Unit - 2.0 TR |  | Mtrs. | 4 | 1050 | 4200
5 | Refrigeration Piping for Hi Wall Unit - 2.0 TR |  | Mtrs. | 24 | 850 | 20400
6 | Interconnecting Cable Indoor & Outdoor Hi Wall Unit |  | Mtrs. | 28 | 180 | 5040
7 | Interconnecting Cable Indoor & Outdoor - Cassette Unit - 3.0 TR |  | Mtrs. | 6 | 180 | 1080
8 | Drain Pipe 25 mm PVC Pipe |  | Mtrs. | 15 | 175 | 2625
9 | Drain Pipe 32 mm PVC Pipe |  | Mtrs. | 5 | 200 | 1000
10 | Outdoor Unit L -Type Stand |  | Nos. | 1 | 1250 | 1250
11 | Core Cutting |  | Nos. | 2 | 1500 | 3000
12 | Cable Tray 150x50 |  | Mtrs. | 10 | 950 | 9500
13 | Chiseling |  | Mtrs. | 12 | 135 | 1620 | IF REQUIRED
D | TOTAL BASIC LOW SIDE |  |  |  |  | 55565
E | GST@ 18% |  |  |  |  | 10001.7
F | Total Low Side Value |  |  |  |  | 65566.7
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 65566.7
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals