## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Adani Projects |  |  | Date :- | 11.03.2025
Site Address: - AT – 1st Floor Plot No.9,10 Ramdhan Behind Kham Talbhandara , Bhandara , 441904.
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Reception Area | 1.5 TR Cassette Unit | Nos. | 1 |  | 0
2 | Cubicle Area | 2.0 TR Hi Wall Unit | Nos. | 1 |  | 0
3 | GA Head Cabin | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
4 | VP Cabin | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
5 | Cafe Area | 1.5 TR Hi Wall Unit | Nos. | 1 |  | 0
6 | WorkStation | 1.5 TR Hi Wall Unit | Nos. | 2 |  | 0
7 | Conference Room | 2.0 TR Cassette Unit | Nos. | 1 |  | 0
8 | Server Room | 1.0 TR Hi wall Unit | Nos. | 2 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of 1.5 TR & 2.0 TR Cassette Unit |  | Nos. | 2 | 3500 | 7000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of 1.0 TR & 2.0 TR Hi Wall Unit |  | Nos. | 8 | 1600 | 12800
3 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 46 | 950 | 43700
4 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 110 | 850 | 93500
5 | Interconnecting 3Core Cable Indoor & Outdoor |  | Mtrs. | 97 | 130 | 12610
6 | Interconnecting 4Core Cable Indoor & Outdoor |  | Mtrs. | 98 | 150 | 14700
7 | Drain Pipe 25 mm PVC Pipe |  | Mtrs. | 97 | 120 | 11640
8 | Drain Pipe 32 mm PVC Pipe |  | Mtrs. | 50 | 145 | 7250
9 | Outdoor Unit L -Type Stand |  | Nos. | 8 | 850 | 6800
10 | Outdoor Unit L -Type Jumbo Stand for Cassette |  | Nos. | 2 | 1200 | 2400
11 | Ac Timer |  | Nos. | 1 | 3000 | 3000
12 | Chiseling Work |  | Mtrs. | 75 | 140 | 10500
D | TOTAL BASIC LOW SIDE |  |  |  |  | 225900
E | GST@ 18% |  |  |  |  | 40662
F | Total Low Side Value |  |  |  |  | 266562
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 266562
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals