## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Kotak Mahindra Bank |  |  | Date :- | 18.05.2024
Site Address: - Kotak Mahindra Bank; 425 & 430 - "Kashyap Heights", Barshi Road, Harangul, Latur.Maharashtra. Pin Code - 413 531
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | ATM | 1.0 TR Hi Wall AC | Nos. | 1 |  | 0
2 | Server Room | 1.0 TR Hi Wall AC | Nos. | 1 |  | 0
3 | Manager Cabin | 1.0 TR Hi Wall AC | Nos. | 1 |  | 0
4 | Back Office | 1.5 TR Hi Wall AC | Nos. | 1 |  | 0
5 | Meeting Room | 1.5 TR Hi Wall AC | Nos. | 1 |  | 0
6 | Hall | 2.0 TR Hi Wall AC | Nos. | 3 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Dismantling of Existing Hi Wall Unit |  | Nos. | 8 | 1000 | 8000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR, 1.5 TR & 2.0 TR |  | Nos. | 8 | 2000 | 16000
3 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 80 | 950 | 76000
4 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 90 | 150 | 13500
5 | Electrical Cabling 3 core 2.5 sqmm |  | Mtrs. | 110 | 180 | 19800
6 | Drain Pipe 25mm thick Hard PVC |  | Mtrs. | 10 | 130 | 1300
7 | Drain Pipe 40mm thick Hard PVC |  | Mtrs. | 60 | 150 | 9000
8 | Outdoor Unit Stand for Hi Wall Unit |  | Nos. | 8 | 1500 | 12000
9 | Chiseling Trenching, hole making without plastering |  | Mtrs. | 20 | 120 | 2400
D | TOTAL BASIC LOW SIDE |  |  |  |  | 158000
E | GST@ 18% |  |  |  |  | 28440
F | Total Low Side Value |  |  |  |  | 186440
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 186440
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals