## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | AU Small Finance Bank |  |  | Date :- | 22.09.2025
Site Address: - Basement, Ground, and Mezzanine Floor, Shop No. 2&3, Mangirish, 520, L.J Road, Mahim, West Mumbai, Maharashtra – 400016
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Basement Lobby | 3.0 TR Cassette Unit | Nos. | 1 |  | 0
2 | Review Area BS | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
3 | Server Room BS | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
4 | GF Lobby | 3.0 TR Cassette Unit | Nos. | 3 |  | 0
5 | ATM | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
6 | BM Cabin | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
7 | Work Station MF | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
8 | Work Station MF | 2.0 TR Hi wall Unit | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 18% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 3.0 TR |  | Nos. | 4 | 3000 | 12000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR & 2.0 TR |  | Nos. | 6 | 1400 | 8400
3 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 74 | 950 | 70300
4 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 76 | 800 | 60800
5 | Interconnecting Cable Indoor & Outdoor 4 Core 2.5 Sqmm |  | Mtrs. | 172 | 175 | 30100 | Not in RC
6 | Drain Pipe 25 mm PVC Pipe with insulation |  | Mtrs. | 46 | 150 | 6900
7 | Drain Pipe 32 mm PVC Pipe with insulation |  | Mtrs. | 34 | 170 | 5780
8 | Outdoor Unit L -Type Stand for Hi wall unit |  | Nos. | 4 | 850 | 3400
9 | Drain Pump |  | Nos. | 2 | 6500 | 13000
10 | Core Cutting |  | Nos. | 2 | 2000 | 4000
11 | Lifting Shifting |  | L/S | 1 | 7500 | 7500
D | TOTAL BASIC LOW SIDE |  |  |  |  | 222180
E | GST@ 18% |  |  |  |  | 39992.4
F | Total Low Side Value |  |  |  |  | 262172.4
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 262172.4
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals