## Master sheet
Project - MIGOES - GONG (BANDRA)
Consultants: APK DESIGNS |  | DATE - 09.10.2025
SR.NO. | Description | Amount
1 | HIGH SIDE Air Conditioning BOQ | 1576800
2 | Low Side BOQ | 696850
3 | DUCTING & GRILL BOQ & Toilet Exhaust + VFD | 751320
| TOTAL VALUE | 3024970
Note: GST Tax not included
All Taxes Extra as applicable

## AC-HIGH SIDE
Project - MIGOES - GONG (BANDRA)
Consultants: APK DESIGNS | [5 empty] | DATE - 09.10.2025
HIGH SIDE Air Conditioning BOQ
0 | DESCRIPTION | UNIT | QTY
SUPPLY
|  |  |  | RATE | AMOUNT
A | VRF Outdoor Unit (Make: DAIKIN)
1 | Supply of VRF airconditioning system comprising of Non/Modular type high efficient Compressor/s with DC inverter, High efficiency heat transfer Condenser Coil suitable for Environment friendly R410a refrigerant, Air cooled propeller type condenser fan with DC motor drive, interconnecting piping, suction line insulation etc., Micro-processor control panel suitable for automatic operation, High speed calculation inverter control, active oil control mechanism incorporating all safety functions as per equipment specifications & other points as listed below:
i) | 24 HP - First & Second floor (12 HP + 12 HP - 2 ODU) | Nos | 1 | 417900 | 417900 | With Connecting Kit
ii) | 20 HP - Mezzanine floor | Nos | 2 | 319900 | 639800
2 | VRF Indoor Unit (Make: DAIKIN)
2.1 | DUCTED IDU
Supply of VRF Indoor units complete with cordless remote, centrifugal blower, sensor, cooling coil with suitable rows , electronic expansion valves, high efficiency pre filter sections all as per specifications.
i) | CSU DUCTABLE UNIT - 11.0TR (5.5 TR X 2 Nos) - (4400CFM) 50mm static | Nos | 1 | 128500 | 128500
ii) | CSU DUCTABLE UNIT - 8.0TR - (3200CFM) 50mm static | Nos | 4 | 71900 | 287600
iii) | CSU DUCTABLE UNIT - 5.0TR - (2000CFM) 50mm static | Nos | 1 | 64500 | 64500
vi) | SLIM DUCTABLE UNIT - 2.0TR - (800CFM) 25mm static | Nos | 1 | 24500 | 24500
2.2 | Supply of cordless controller of operation of IDU's | Nos | 7 | 2000 | 14000
| TOTAL VALUE |  |  |  | 1576800
Note: Tax will be extra @ 18%

## AC-Low Side
Project - MIGOES - GONG (BANDRA)
Consultants: APK DESIGNS |  |  |  |  | DATE - 09.10.2025
Low SIDE Air Conditioning BOQ
Sr. No. | Description | Qty | Unit | Rate | Amount
INSTALLATION WORK
1 | Installation, testing & commissioning of outdoor units with Hi pressure Testing, Nitrogen flushing, Vacuumizing, Addressing with required necessary accessories as per the requirement for below capacity
i) | 24 HP | 1 | Nos. | 24000 | 24000
ii) | 20 HP | 2 | Nos. | 20000 | 40000
1.2 | SITC of Refrigerant Interconnecting Refnet/Y joints for
i) | IDU's | 5 | Nos. | 3250 | 16250
ii) | ODU's | 0 | Nos. |  | 0
2 | Installation, testing & commissioning of Indoor units with proper support and accessories and as per the specification for the below mentioned Units
2.1 | Ducted Unit with Cordless Remote
i) | CSU DUCTABLE UNIT - 11.0TR - (4400CFM) | 1 | Nos. | 11000 | 11000
ii) | CSU DUCTABLE UNIT - 8.0TR - (3200CFM) | 4 | Nos. | 8000 | 32000
iii) | CSU DUCTABLE UNIT - 5.0TR - (2000CFM) | 1 | Nos. | 5500 | 5500
vi) | SLIM DUCTABLE UNIT - 2.0TR - (800CFM) | 1 | Nos. | 3000 | 3000
3 | CABLING
3.1 | 4core x 6/10/16 sqmm Cu. Armoured Power Cable UPTO ODU through MCCB with lugs gland in weatherproof box. | ELECTRICAL/Customer SCOPE
3.2 | VRF & unit Transmission Cable 3 core x 1.0 Sq mm cu. Sheilded with PVC conduiting (Makes:Polycab/RR/OEM approved) | 175 | Rmt | 165 | 28875
4 | S&I of Interconnecting copper refrigerant pipe work duly insulated with elastomeric nitrile rubber type tubular insulation (19/13mm as per OEM std) between indoor & outdoor units and as per specifications. All piping inside the room will be properly supported with hanger and all external pipe with proper supports and fittings (Make: RR/Mexflow/ OEM Approved) | 145 | Rmt | 1800 | 261000
5 | Supply & Installation of rigid PVC drain piping with Insulation (9mm) (Make : Prince/Equivalent)
5.1 | 32mm | 35 | Rmt | 155 | 5425
5.2 | 25mm | 75 | Rmt | 140 | 10500
6 | Outdoor Unit Stand
6.1 | M.S. Fabrication Floor Stool type ODU stand duly painted for placing ODU 's
For VRF System
i) | 24 HP | 1 | Nos | 20000 | 20000
ii) | 20 HP | 2 | Nos | 12750 | 25500
7 | Unloading, Lifting, Shifting & Positioning of Indoor & Outdoor units at the specified locations as per site conditions | 1 | Lot | 40000 | 40000
8 | Refrigerant GAS charging for VRF System (Makes: OEM approved) | 135 | kgs | 980 | 132300
9 | Additional Anti Corrosion Treatment Nano type Coating (Highly Recommended)
9.1 | For VRF/SPLIT IDU's complete cooling coil with U bends and fins
i) | CSU DUCTABLE UNIT - 11.0TR - (4400CFM) | 1 | Nos | 5000 | 5000
ii) | CSU DUCTABLE UNIT - 8.0TR - (3200CFM) | 4 | Nos | 4000 | 16000
iii) | CSU DUCTABLE UNIT - 5.0TR - (2000CFM) | 1 | Nos | 2500 | 2500
vi) | SLIM DUCTABLE UNIT - 2.0TR - (800CFM) | 1 | Nos | 1500 | 1500
9.2 | For VRF ODU's complete condensing coil with U bends and fins
i) | 24 HP | 1 | Nos | 6500 | 6500
ii) | 20 HP | 2 | Nos | 5000 | 10000
Without taxes |  | SUB TOTAL |  |  | 696850

## AC-Ducting & Grill
Project - MIGOES - GONG (BANDRA)
Consultants: APK DESIGNS |  |  |  |  | DATE - 09.10.2025
DUCTING & GRILL BOQ
0 | DESCRIPTION
SUPPLY & INSTALLATION
|  | UNIT CONSULTANT | QTY | RATE | AMOUNT
A | Sheet Metal Ducting - Site Fabricated (Make : Jindal Steel)
Rectangular Ducting in Galvanised Steel
1 | Supply, fabrication, installation and testing of GSS metal ducts as per IS-277 (120 GSM both sides, LFQ & confirming to Class VIII) for GS Sheets and IS-655 for fabrication of following thicknesses including necessary G.I. hangers/ supports, volume control duct dampers, accessories, vanes, 3 mm neoprene rubber gasket etc. complete as per specifications in accordance with the approved shop drawings. No slip joints shall be allowed. Flanges shall be Rolamate or equivalent and ducts upto 1500 mm width shall be with rigid support (Gripple support to be provided wherever required) as per technical specifications.
Ducts to be fabricated at the jobsite. factory Fabrication work shall be limited to assembly, installation and suit to site pieces and collars/droppers
The quoted costs should include:
i) Ducts with reinforcement/ strengthening
ii) Air tight joints
iii) Accessories such as splitter, damper, guide vane etc.
iv) Hangers and supports (Gripple Supporting method to be used wherever required)
v) Painting with Black color paint for duct sides behind the grills.
vi) The gasket used in case for all ducts shall be fire retardant type
vii) Ducts shall be fully sealed with Silicon Sealant for leak tight installation.
Ducts shall be leak pressure tested & leakages should be within acceptable limits as specified at Min. 500 Pa
a) | 0.63 mm (24 SWG) GSS ducting (601mm-750mm) | Sqmt | 135 | 1450 | 195750
b) | 0.80 mm (22 SWG) GI ducting | Sqmt | 22 | 1660 | 36520
2 | Insulation of Duct
Supplying and fixing of following thickness duly laminated aluminum foil of mat finish. (Make - Hira Technologies/K Flex, Aeroflex/Equivalent)
a) | 13 mm thick | Sqmt | 160 | 950 | 152000
B | VOLUME CONTROL DAMPER IN DUCTING
a) | Supply, installation and testing of GI construction louver dampers within ducts to be provided with suitable links, levers and quadrants for manual control of volume of air flow and for proper balancing of the air distribution system | Sqm | 5 | 8500 | 42500
D | GRILLES
1 | Extruded Aluminum Powder Coated Grilles Of Required Airflow Angles With C.D- EP -00/15/30 with four side flanges as following sizes.
a) | 500 x 150mm (Supply air Duct) | Nos. | 2 | 1500 | 3000
b) | 450 x 150mm (Supply air Duct) | Nos. | 2 | 1500 | 3000
c) | 400 x 150mm (Supply air Duct) | Nos. | 14 | 1450 | 20300
2 | Extruded Aluminum Powder Coated Continuous/Linear Grilles Of Required Airflow Angles Without V.C.D- EP -00/15/30 with four side flanges as per requirements.
a) | 150mm Width | Rmtr | 65 | 750 | 48750
E | ACCESSORIES
Supply, fabrication, assembling, installation, adjusting & testing of airdistribution accessories of assorted size as specified and as per approved shop drawings :
1 | JET NOZZELES
Supply , installation Jet Nozzles can be turned through 30 degree from its centre-line axis and rotated 360 degree.Thus providing universal directional throw. Eye ball type construction with inbuilt cone. Manufactured from aluminium the nozzles can be supplied spray painted or anodised or powder coated in white.Spring aluminium construction
a) | Dia - 350 (Make Cosmos/Carryaire/Air Master / Air Comfort) | Nos | 14 | 4500 | 63000
2 | Factory fabricated duct cowl for outdoor units | Nos | 4 | 6500 | 26000
F | TOILET EXHAUST INLINE FAN
1.1 | Centralised Exhaust System - Inline fans with required duct work (spigot, disc valve, flexible duct,required support & accessories etc.)
Approved make - Kruger / Ostberg/ Nicotra (Carryaire)
a) | 800 CFM (Gents & Ladies WR) | Nos | 1 | 17500 | 17500
1.2 | Spigot with disc valve | Nos | 8 | 1000 | 8000
G | Starter Panel |  |  |  | 0
| 'VFD provision' with bypass STARTER with Overload,Single phasing, Under voltage and overvoltage, phase reverse protection with necessary internal wiring. Starter should be compatible for BMS also with necessary inputs and outputs provisions, power and control wiring should be carried out as per IS standards suitable for current ranging from (0--16) Ampere.VFD can have Single phase input also | Nos | 6 | 22500 | 135000
| TOTAL VALUE |  |  |  | 751320
Note: Tax will be extra @ 18%