## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@ecovistamep.com Mob. No. - 9322334106
| Company Name |  | Dated | 10.11.2023
Mr. DIY
Site Address: - Fairmount, Sanpada, Navi Mumbai - Maharashtra
BILL OF QUANTITIES
HIGH SIDE WORK
SR. NO. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin Ductable Airconditioners
A | Daikin Units
| Supply of Daikin Make 8.5 TR High Static Non Inverter Ductable AC (R-410A) Three Phase - FDR100FRV16 | Nos. | 4 |  | 0
| Sub Total |  |  |  | 0
| GST 28% |  |  |  | 0
| Total (High Side) |  |  |  | 0
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Testing & Commissioning Charges for Ductable Units
| Labour charges towards Installation of Ductable Unit 8.5 TR | Nos | 4 | 8000 | 32000
2 | Refrigerant Piping with Rubber Nitrile insulation
| Supply & Installation towards Copper pipe with Nitrile Insulation 13mm as Required - Elbows/Cupling /Wooden Supports Etc. for Ductable unit | Rmt | 85 | 1570 | 133450
3 | Control Cabling :
| Supply & Labour towards Communication Cable betweem IDU to ODU 7 Core 1.5 Sqmm conduits | Rmt | 95 | 265 | 25175
4 | Drain Pipe
| Supply & Labour charges towards PVC Drain Piping 50mm | Rmt | 25 | 210 | 5250
5 | Ducting work
5.1 | Supply & Installation of Rectangular ducting with clamp supports etc. | Sqft | 1900 | 120 | 228000
5.2 | Supply & Application of of 13 mm thick Closed Cell Nitrile rubber insulation for Ducting | Sqft | 1900 | 50 | 95000
5.3 | Supply & Installation of Linear Grill | Sqft | 35 | 595 | 20825
5.4 | Volumn Collar Damper | Sqft | 35 | 45 | 1575
6 | Canvas Connection
| Supply and Installation of fire rated Canvass Connection | Nos. | 4 | 4750 | 19000
7 | Refrigerant Charging & Nitrogen Testing | Kg's | 10 | 950 | 9500
8 | Lifting Shifting | Lot | 1 | 25000 | 25000
9 | Transportation of Material Oxy Acytlene Set / Nitrogen and Other tools. | L/S | 1 | 2500 | 5000
10 | Charges towards Double Decker MS Stand - For Ductable units | Nos | 4 | 7500 | 30000
| Total Basic Low side for machine installation |  |  |  | 629775
| GST 18% |  |  |  | 113359.5
| Total (Low Side) |  |  |  | 743134.5
Note - Civil work, Mathadi charges and Power Cable charges will be under customer's scope.