## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Third Wave Coffee |  |  | Date :- | 16.07.2026
Site Address: - Mira Bhayandar, Maharashtra
Sr. No. | DETAILS OF MACHINES |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | 2.0 TR Cassette Unit |  | Nos. | 1 |  | 0
2 | 3.0 TR Cassette Unit |  | Nos. | 1 |  | 0
3 | 4.0 TR Cassette Unit |  | Nos. | 1 |  | 0
4 | 1.5 TR Hi wall Unit |  | Nos. | 3 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 18% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.5 TR |  | Nos. | 3 | 1500 | 4500
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 2.0 TR |  | Nos. | 1 | 2500 | 2500
3 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 3.0 TR & 4.0 TR |  | Nos. | 2 | 3500 | 7000
4 | Refrigeration Piping for Hi Wall Unit - 1.5 TR |  | Mtrs. | 45 | 1200 | 54000
5 | Refrigeration Piping for Cassette Unit - 2.0 TR |  | Mtrs. | 15 | 1300 | 19500
6 | Refrigeration Piping for Cassette Unit - 3.0 TR & 4.0 TR |  | Mtrs. | 35 | 1500 | 52500
7 | Interconnecting 4 Core 2.5 Sqmm Cable Indoor & Outdoor |  | Mtrs. | 100 | 175 | 17500
8 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 30 | 140 | 4200
9 | Drain Pipe 32 mm Thick Hard PVC Pipe |  | Mtrs. | 18 | 160 | 2880
10 | Ms Table Type Outdoor Unit Stand Casssette - 3.0 TR & 4.0 TR |  | Nos. | 2 | 3500 | 7000
11 | Ms Table Type Outdoor Unit Stand Casssette - 2.0 TR |  | Nos. | 1 | 1250 | 1250
12 | Ms Table Type Outdoor Unit Stand Hi Wall - 1.5 TR |  | Nos. | 3 | 950 | 2850
13 | Cable Tray 150 mm width X 50 mm depth X 1.6 mm thickness |  | Mtrs. | 30 | 700 | 21000
14 | Cable Tray 300 mm width X 50 mm depth X 1.6 mm thickness |  | Mtrs. | 75 | 950 | 71250
15 | Lifting Shifting Mathadi Charges |  | Nos. | 1 | 6500 | 6500
D | TOTAL BASIC LOW SIDE |  |  |  |  | 274430
E | GST@ 18% |  |  |  |  | 49397.4
F | Total Low Side Value |  |  |  |  | 323827.4
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 323827.4
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals