## Summary
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name |  | Dated | 14.10.2025
Chaayos
Site Address: - Immensa at Parkcity, Kalpataru Parkcity, Kolshet Rd, Thane West, Thane, Maharashtra 400607.
SR. NO | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGH SIDE
| TOTAL HIGH SIDE | 481580 | 86684.4 | 568264.4
LOW SIDE
| TOTAL LOW SIDE | 297475 | 53545.5 | 351020.5
| TOTAL HIGH SIDE + LOW SIDE | 779055 | 140229.9 | 919284.9

## HS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 28.10.2025
CHAAYOS
Site Address: - Immensa at Parkcity, Kalpataru Parkcity, Kolshet Rd, Thane West, Thane, Maharashtra 400607.
BILL OF QUANTITIES
Sr. No. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin VRV Airconditioners
A | Daikin Outdoor Units
1 | 8 HP OUTDOOR UNIT - TOP DISCHARGE (RXQ8ARY6) | Nos. | 2 | 145530 | 291060
B | Daikin Indoor Units
1 | Cassette unit : 3.3 TR (FXFSQ100ARV16) | Nos | 1 | 31570 | 31570
2 | Cassette unit : 2.67 TR (FXFSQ80ARV16) | Nos | 1 | 30800 | 30800
3 | Hi-Wall unit : 2.1 TR (FXAQ63ARVE6) | Nos | 2 | 19525 | 39050
4 | Hi-Wall unit : 1.6 TR (FXAQ50ARVE6) | Nos | 2 | 18755 | 37510
5 | Daikin VRV Cassette Panel - Round Flow Standard - Model - BYCQ125EAF6 | Nos | 2 | 5775 | 11550
6 | Daikin VRV Cassette Sensor kit - Round Flow - Model - BRC7M632F-6 | Nos | 2 | 2365 | 4730
7 | Daikin VRV Hi-Wall Sensor kit - Model - BRC7N618-6 | Nos | 4 | 1980 | 7920
8 | Daikin VRV AC unit Wireless Handset - Model - BRC4M150W16 | Nos | 6 | 1320 | 7920
C | IDU Refnut Joints
1 | Daikin VRV Refnet Joint 72T - Model - KHRP26A72T6 | Nos | 1 | 3245 | 3245
2 | Daikin VRV Refnet Joint 33T - Model - KHRP26A33T6 | Nos | 2 | 2475 | 4950
3 | Daikin VRV Refnet Joint 22T - Model - KHRP26A22T6 | Nos | 2 | 2035 | 4070
4 | Daikin VRV ODU Connection Kit - Model - BHFP22P1006 | Nos | 1 | 7205 | 7205
Sub Total |  |  |  |  | 481580
GST 18% |  |  |  |  | 86684.4
Total (High Side) |  |  |  |  | 568264.4

## LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 14.10.2025
CHAAYOS
Site Address: - Immensa at Parkcity, Kalpataru Parkcity, Kolshet Rd, Thane West, Thane, Maharashtra 400607.
BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of 8HP VRV Outdoor Unit. | HP | 16 | 1400 | 22400
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
1 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 3.3 TR | Nos | 1 | 3000 | 3000
2 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 2.67 TR | Nos | 1 | 3000 | 3000
3 | Labour charges towards Installation of VRV Hiwall Indoor Unit 2.1TR | Nos | 2 | 1500 | 3000
4 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 1.6 TR | Nos | 2 | 1500 | 3000
C | Supply, Installation,Testing & Commissioning of following imported copper fittings to be provided in refrigerant pipe line.
1 | Refnet Joints (Y- Joints) | No | 5 | 1000 | 5000
D | COPPER REFRIGERANT PIPING
Supply, installation, testing and comissioning of interconnecting copper refrigerant piping of DHE Grade C12200- ASTM B68, B75, chemical composition of copper %- 99.0 Min and Phosphorus %- 0.015 to 0.040 . For Annealed copper tube :- Tensile strength = 210 Mpa wih elongation % = 40 Min . Ink Mark Brand Printing on Hard Tubes should be present. duly insulated with tubular elastomeric nitrile rubber FM/UL approved with high water vapor diffusion resistance and low thermal conductivity should be certified 'Class O' in Fire Propagation as per BS 476 Part 6 including chase cutting andfilling with mortar, Slotted channel supports mounted on 10 mm threaded rod at suitable spacing the exposed piping shall be wrapped with glass woven cloth and lag coating for vapour barrier and weather protection. Joints shall be covered with nitrile rubber tape of 3 mm thick complete as required of following sizes. All as per pre approved by Engineer in charge. For additional technical parameters of products/ work.
Pipe Size Thickness of CSE
(O.D.) Insulation
1.1 | 19.1 mm O.D., wall thinkness ≥ 1.0mm (insulation – 13 mm thick) | RM | 15 | 1050 | 15750
1.2 | 15.9 mm O.D., wall thinkness ≥ 0.8mm (insulation – 13 mm thick) | RM | 20 | 850 | 17000
1.3 | 12.7 mm O.D., wall thinkness ≥ 0.8mm (insulation – 13 mm thick) | RM | 10 | 700 | 7000
1.4 | 9.5 mm O.D., wall thinkness ≥ 0.8mm (insulation – 13 mm thick) | RM | 20 | 550 | 11000
1.5 | 6.4 mm O.D., wall thinkness ≥ 0.8mm (insulation – 13 mm thick) | RM | 10 | 450 | 4500
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 4 Core 2.5 Sqmm with conduits | Rmt | 50 | 250 | 12500
2 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.0 Sqmm with conduits | Rmt | 50 | 180 | 9000
F | Drain Pipe :
Providing & Fixing of IS : 4985 - 2000 Class -4 (10 Kgf / Sqcm) UPVC drain water piping with fittings (IS:7834 & 10Kgf/sqcm) like elbow, socket, Tee, solvent cement jointing, support with MS hanger on ceiling or recessed in wall with chasing & plastering with 6 mm thick closed cell elastomeric nitrile rubber insulation including leakage testing etc. as required of following Nominal sizes. All as per pre approved by Engineer in charge. For additional technical parameters of products/ work.
1 | 32mm dia | Rmt | 20 | 260 | 5200
2 | 25mm dia | Rmt | 24 | 170 | 4080
G | Lifting Shifting VRV ODU & IDU on all floors | Lot | 1 | 10000 | 10000
H | Transportation of spares and materials | Lot | 1 | 3500 | 3500
I | Additional Refrigerant Charging as per copper length. | Kg's | 12 | 1250 | 15000
J | Fabrication of Outdoor Unit Stand for 16 HP VRV unit | Kg's | 250 | 150 | 37500
L | Other work
1 | Wall chasing work for ref. pipe & drain pipe | Rmt | 15 | 170 | 2550
Perforated MS cable trays
2 | 150 mm wide x 50 mm depth x 1.6 mm thickness | Rmt | 15 | 834 | 12510
3 | 250 mm wide x 50 mm depth x 1.6 mm thickness | Rmt | 10 | 1061 | 10610
M | Cowl Piece with Straight Duct | Sqmt | 75 | 1025 | 76875
N | Bird Screen | Nos | 1 | 3500 | 3500
Total Basic Low side for machine installation |  |  |  |  | 297475
GST 18% |  |  |  |  | 53545.5
Total (Low Side) |  |  |  |  | 351020.5
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
9 | All Electrical power cables and power points will under the customer scope.
10 | We have not consider Linear Grill and Collar Damper in Quotation

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 14.10.2025
CHAAYOS
Site Address: - Immensa at Parkcity, Kalpataru Parkcity, Kolshet Rd, Thane West, Thane, Maharashtra 400607.
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.