## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Third Wave Coffee |  |  | Date :- | 26.10.2024
Site Address: - Shop No 02 to 07, Gr. Floor, S.No. 18/1/1, Next to Nandavan, New DP road, Vishal Nagar, Pimple Nilakh, Pune, Maharashtra, 411027.
Sr. No. | DETAILS OF MACHINES |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | 1.0 TR Hi Wall Unit |  | Nos. | 1 |  | 0
2 | 1.5 TR Hi Wall Unit |  | Nos. | 2 |  | 0
3 | 2.0 TR Cassette Unit |  | Nos. | 1 |  | 0
4 | 3.0 TR Cassette Unit |  | Nos. | 2 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of 1.0 TR & 1.5 TR Hi Wall Unit |  | Nos. | 3 | 1500 | 4500
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of 2.0 TR & 3.0 TR Cassette Unit |  | Nos. | 3 | 2000 | 6000
3 | Supply And Installation of Mounting arrangement for Indoor Unit - 2.0 TR Cassette Unit |  | Nos. | 1 | 1000 | 1000
4 | Supply And Installation of Mounting arrangement for Indoor Unit - 3.0 TR Cassette Unit |  | Nos. | 2 | 1500 | 3000
5 | Refrigeration Piping for 1.0 TR & 1.5 TR Hi Wall Unit |  | Mtrs. | 105 | 900 | 94500
6 | Refrigeration Piping for 2.0 TR Cassette Unit |  | Mtrs. | 46 | 980 | 45080
7 | Refrigeration Piping for 3.0 TR Cassette Unit |  | Mtrs. | 115 | 1000 | 115000
8 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 275 | 175 | 48125
10 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 110 | 140 | 15400
11 | Cassette & Hi Wall Outdoor Unit Stand - Table Top Fabrication |  | kgs | 160 | 95 | 15200
13 | Drain Pump |  | Nos. | 3 | 6000 | 18000 | If Required
14 | Cassette Cable Tray 300mm X 50 |  | Mtrs. | 70 | 1000 | 70000
D | TOTAL BASIC LOW SIDE |  |  |  |  | 435805
E | GST@ 18% |  |  |  |  | 78444.9
F | Total Low Side Value |  |  |  |  | 514249.9
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 514249.9
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals