## Summary
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name |  | Dated | 19.01.2026
Blue Tokai Coffee
Site Address: - Agarwal Veneers Chandrama Housing Society, Plot No. 14 , Swargate Pune
SR. NO | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGH SIDE WORK
| TOTAL HIGH SIDE WORK | 0 | 0 | 0
LOW SIDE WORK
| TOTAL LOW SIDE WORK | 292250 | 52605 | 344855
COMPREHENSIVE ANNUAL MAINTENANCE CONTRACT - 5 YEARS COST
| TOTAL COMPREHENSIVE ANNUAL MAINTENANCE CONTRACT | #REF! | #REF! | #REF!
| TOTAL HIGH SIDE WORK + LOW SIDE WORK + AMC | #REF! | #REF! | #REF!

## HS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 19.01.2026
Blue Tokai Coffee
Site Address: - Agarwal Veneers Chandrama Housing Society, Plot No. 14 , Swargate Pune
BILL OF QUANTITIES
HIGH SIDE WORK
Sr. No. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply of Daikin VRV Airconditioners
A | Daikin Outdoor Units
1 | Supply of Daikin Make 14HP VRV Outdoor Unit Top Discharge | Nos. | 1 |  | 0
B | Daikin Indoor Units
2 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 2.0 TR | Nos. | 1 |  | 0
4 | Supply of Daikin Make VRV Compact Cassette AC Indoor Unit 1.0 TR | Nos. | 4 |  | 0
| Supply of Daikin Make VRV Cassette AC Indoor Unit 2.0 TR | Nos. | 1
| Supply of Daikin Make VRV Cassette AC Indoor Unit 2.5 TR | Nos. | 2
C | Cordless Remote controller for Cassette / Hi-Wall / Low Static Ducted units | Nos. | 8 |  | 0
D | Decorative Panel for Cassette Units | Nos. | 7 |  | 0
E | IDU Refnet Joints
1 | IDU Refnut Joints | Nos. | 7 |  | 0
Sub Total |  |  |  |  | 0
GST 18% |  |  |  |  | 0
Total (High Side) |  |  |  |  | 0

## LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 19.01.2026
Blue Tokai Coffee
Site Address: - Agarwal Veneers Chandrama Housing Society, Plot No. 14 , Swargate Pune
BRANCH - BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of 14 HP VRV Outdoor Unit. | HP | 14 | 1200 | 16800
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
1 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 2.0 TR | Nos | 1 | 1500 | 1500
2 | Labour charges towards Installation of VRV Compact Cassette Indoor Unit 1.0 TR | Nos | 4 | 2500 | 10000
3 | Labour charges towards Installation of VRV Cassette Indoor Unit 2.0 TR | Nos | 1 | 2500 | 2500
4 | Labour charges towards Installation of VRV Cassette Indoor Unit 2.5 TR | Nos | 2 | 2500 | 5000
C | Installtion IDU Refnets (Y-Distribution) Joints for Units | Nos | 7 | 550 | 3850
1 | Nitrogen Gas flushing forall the above units as per there CU Piping length and the Indoor unit capacity . | HP | 14 | 500 | 7000
D | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 70 | 1850 | 129500
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.5 Sqmm with conduits for VRV Units | Rmt | 80 | 185 | 14800
3 | Control wiring / network wiring using recommended quality of multicore wires. All cabling/wiring should be installed in PVC conduits to facilitate replacement in case of any fault in future - 1.5 Sq.MM x 3 Core. PVC conduits should be joined using a suitable adhesive to ensure a secure and durable connection. | Rmt | 75 | 190 | 14250
F | Drain Pipe :
1 | Supply & Labour charges towards PVC Drain Piping 25mm / 32mm | Rmt | 30 | 175 | 5250
2 | Supply & Labour charges towards PVC Drain Piping 40mm / 50mm | Rmt | 20 | 190 | 3800
Note: Vertial drain till Nali trap to be provided by plumber
G | Indoor Drain Pump - for VRV HI WALL UNIT | Nos | 1 | 7500 | 7500 | IF REQUIRED
H | Additional Refrigerant Charging as per copper length. | Kg's | 25 | 1200 | 30000
I | Fabrication of Outdoor Unit Stand for 14 HP VRV unit | Nos | 1 | 12000 | 12000
J | Cutout on on wall upto 10 inches | Nos | 1 | 3500 | 3500 | IF REQUIRED
K | Factory fabricated duct cowl for outdoor unit | Nos | 1 | 11500 | 11500
L | Transportation of Materials | Nos | 1 | 3500 | 3500
M | Lifting & Shifting of Outdoor Unit | Nos | 1 | 10000 | 10000
Total Basic Low side for machine installation |  |  |  |  | 292250
GST 18% |  |  |  |  | 52605
Total (Low Side) |  |  |  |  | 344855

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 19.01.2026
Blue Tokai Coffee
Site Address: - Agarwal Veneers Chandrama Housing Society, Plot No. 14 , Swargate Pune
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.

## Vendor Details
LOW SIDE PO TO BE CREATED ON THE NAME OF Daikin's Authorised Dealer as per below Details
Dealer Firm's Name : | Aeon Airconditioning Solutions
Dealer GST No. : | 27AYYPS2229K1ZK
Dealer Pan Number: | AYYPS2229K
Contact person 1 (Project Incharge) : | Amira Khan
Contact No. 1 : | 9137940454
Contact person 2 (Propreitor) : | Mr. Mohd. Asim Shaikh
Contact No. 2 : | 9820580008
Email Id : | support@aeonacsolutions.com / asim.shaikh@aeonacsolutions.com
Address : | Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra.