## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Blue Dart Express Ltd |  |  | Date :- | 02.01.2025
Site Address: -Manjeri arcade Shop no-8/9 P L Lokhande Marg Govandi mumbai-400043
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Cash Counter | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
2 | Server Room | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
3 | OPS Cabin | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR |  | Nos. | 3 | 1500 | 4500
2 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 12 | 800 | 9600
3 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 18 | 150 | 2700
4 | Drain Pipe 25 mm PVC Pipe |  | Mtrs. | 25 | 140 | 3500
5 | Outdoor Unit L -Type Stand |  | Nos. | 3 | 1000 | 3000
6 | Fabricated Outdoor Unit Cage with Transportation |  | Nos. | 1 | 6500 | 6500
D | TOTAL BASIC LOW SIDE |  |  |  |  | 29800
E | GST@ 18% |  |  |  |  | 5364
F | Total Low Side Value |  |  |  |  | 35164
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 35164
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals