## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Mi Store |  |  | Date :- | 18.03.2024
Site Address: - Shop No 13 and 14, B Zone, Survey No.29, Morewadi, Pimpri Colony, Pune, Maharashtra 411019
Sr. No. | DETAILS OF MACHINES |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | 4.0 TR Cassette Unit |  | Nos. | 2 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Dismantling of Existing Cassette Unit (Carrier AC) |  | Nos. | 2 | 2000 | 4000 | Note:- Not In RC
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 4.0 TR |  | Nos. | 2 | 2850 | 5700
3 | Refrigeration Piping for Cassette Unit - 4.0 TR |  | Mtrs. | 3 | 1000 | 3000
4 | Nitrogen Testing, Flushing & Vaccumizing |  | Nos. | 2 | 1000 | 2000 | Note:- Not In RC
5 | Refrigerant Gas - R32 |  | KG's | 4 | 1050 | 4200
6 | Supply, Installation & Transportation of Scaffolding (6/3) |  | L/S | 1 | 10200 | 10200 | Note:- Not In RC
7 | Outdoor Unit Fabrication Stand |  | KG's | 58 | 135 | 7830
A | TOTAL BASIC LOW SIDE |  |  |  |  | 36930
B | GST@ 18% |  |  |  |  | 6647.4
C | Total Low Side Value |  |  |  |  | 43577.4
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals