## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Workshop & Office: - Aeon House, Office No 108 & 109 Devashree Garden Commercial Complex, R W Sawant Marg,
above Sheetal Dairy, Rutu Park, Thane, Maharashtra 400601. Phone - 9322334106 / 9137940454
Ref :- | AAS/22-23/0143 |  |  | Date :- | 03.01.2024
To,
Krsnaa Diagnostics,
Rajiv Gandhi Medical College &
Chtrapati Shivaji Maharaj Hospital,
Kalwa Naka, Belapur Road, Kalwa, Thane- 400605
Subject :- | Quotation for Repairing work of Ductable AC's at your premises
Dear Sir,
We thank you for your enquiry and are pleased to submit our techno-commercial offer as per following :
BILL OF QUANTITIES
Repairing work of Ductable Airconditioners
A | Repairing Work Description
1 | Labour Chaeges towards replacement of Compressor of 8.5 TR Dakin Ductable unit | Nos. | 1 | 6500 | 6500
2 | Labour Charges towards Flushing of system & Pressure Testing with Nitrogen, Brazing of joints, R 22 Gas Charging Vacuuming and Commissioning of 8.5 TR Ductable system. | Nos. | 1 | 9500 | 9500
3 | Supply & Installation of Filter Dryer (Danfoss Make) | Nos. | 1 | 3500 | 3500
4 | Installation of U-Trap in Copper pipe Line | Lot | 1 | 3500 | 3500
5 | Supply of R22 Refrigerant for 8.5 TR ductable unit. | Kg's | 10 | 1050 | 10500
6 | Lifting Shifting & Transportation | Lot | 1 | 6500 | 6500
| Subtotal |  |  |  | 40000
| GST 18% |  |  |  | 7200
| Total (High Side) |  |  |  | 47200
Note : After pressure testing If there is any leakages in the coils or copper piping we need to replace the same and we will share the revise quote accordingly.
We trust the above offer is in line with your requirement and now look forward to the pleasure of receiving your valued order
Thanking you and assuring you of our best attention at all times, we remain,
Yours faithfully,
For Aeon Aircondtioning Solutions