## Summary
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 28.06.2026
Methodex System Pvt Ltd
Site Address: - NMMT Sports Complex, sector-12, Vashi, Navi Mumbai.
SR. NO | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGH SIDE
| TOTAL HIGH SIDE | 4064245 | 731564.1 | 4795809.1
LOW SIDE
| TOTAL LOW SIDE | 2346045 | 422288.1 | 2768333.1
| TOTAL HIGH SIDE + LOW SIDE | 6410290 | 1153852.2 | 7564142.2

## HS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 28.03.2026
Methodex System Pvt Ltd
Site Address: - NMMT Sports Complex, sector-12, Vashi, Navi Mumbai.
BILL OF QUANTITIES
HIGH SIDE WORK
Sr. No. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin VRV Airconditioners
A | Daikin Outdoor Units
1 | Supply of Daikin Make 32 HP VRV Outdoor Unit Top Discharge - RXQ32ARY6 | Nos. | 1 | 619580 | 619580
2 | Supply of Daikin Make 28 HP VRV Outdoor Unit Top Discharge - RXQ28ARY6 | Nos. | 1 | 556660 | 556660
3 | Supply of Daikin Make 26 HP VRV Outdoor Unit Top Discharge - RXQ26ARY6 | Nos. | 1 | 519285 | 519285
4 | Supply of Daikin Make 4 HP VRV Outdoor Unit Side Discharge - RXMQ4BRV16 | Nos. | 1 | 95290 | 95290
B | Daikin Indoor Units
1 | Supply of Daikin Make VRV Cassette AC Indoor Unit 2.66 TR - FXFSQ80ARV16 | Nos. | 4 | 51350 | 205400
2 | Supply of Daikin Make VRV Cassette AC Indoor Unit 2.08 TR - FXFSQ63ARV16 | Nos. | 21 | 46540 | 977340
3 | Supply of Daikin Make VRV Cassette AC Indoor Unit 1.6 TR - FXFSQ50ARV16 | Nos. | 7 | 45500 | 318500
4 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 1.08 TR - FXAQ32ARVE6 | Nos. | 4 | 27365 | 109460
5 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 2.08 TR - FXAQ63ARVE6 | Nos. | 2 | 30745 | 61490
6 | Supply of Daikin Make VRV AC Indoor Mid-Static Ductable Unit 2.66 TR - FXMQ80ARV36 | Nos. | 3 | 45630 | 136890
7 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 1.33 TR - FXAQ40ARVE6 | Nos. | 2 | 29120 | 58240
8 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 0.8 TR - FXAQ25ARVE6 | Nos. | 2 | 26975 | 53950
12 | Daikin VRV AC unit Wireless Handset - Model - BRC4M150W16 | Nos | 45 | 1560 | 70200
13 | Central Rremote Controller | Nos | 1 | 24115 | 24115
C | Daikin VRV ODU Connection Kit | Nos | 3 | 17615 | 52845
D | IDU Refnut Joints | Nos. | 41 | 5000 | 205000
Sub Total |  |  |  |  | 4064245
GST 18% |  |  |  |  | 731564.1
Total (High Side) |  |  |  |  | 4795809.1

## LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 28.03.2026
Methodex System Pvt Ltd
Site Address: - NMMT Sports Complex, sector-12, Vashi, Navi Mumbai.
BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of Daikin Make 32 HP VRV Outdoor Unit Top Discharge | Nos. | 1 | 32000 | 32000
2 | Labour charges towards Installation of Daikin Make 28 HP VRV Outdoor Unit Top Discharge | Nos. | 1 | 28000 | 28000
3 | Labour charges towards Installation of Daikin Make 26 HP VRV Outdoor Unit Top Discharge | Nos. | 1 | 26000 | 26000
4 | Labour charges towards Installation of Daikin Make 4 HP VRV Outdoor Unit Top Discharge | Nos. | 1 | 4000 | 4000
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
1 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 2.66 TR | Nos | 4 | 3500 | 14000
2 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 2.08 TR | Nos | 21 | 3000 | 63000
3 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 1.6 TR | Nos | 7 | 2500 | 17500
4 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 1.08 TR | Nos | 4 | 1650 | 6600
5 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 2.08 TR | Nos | 2 | 1650 | 3300
6 | Labour charges towards Installation of VRV AC Indoor Mid-Static Ductable Unit 2.66 TR | Nos | 3 | 4500 | 13500
7 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 1.33 TR | Nos | 2 | 1650 | 3300
8 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 0.8 TR | Nos | 2 | 1650 | 3300
C | Installtion IDU Refnets (Y-Distribution) Joints for Units | Nos | 42 | 500 | 21000
D | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 540 | 1900 | 1026000
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.0 Sqmm with conduits | Rmt | 340 | 135 | 45900
2 | Supply & Labour towards Communication Cable betweem IDU to ODU 3 Core 1.5 Sqmm with conduits | Rmt | 200 | 155 | 31000
3 | Supply & Labour towards Power Cable betweem IDU to ODU 4 Core 2.5 Sqmm | Rmt | 93 | 165 | 15345
F | Drain Pipe :
1 | Supply & Labour charges towards PVC Drain Piping 40mm | Rmt | 100 | 160 | 16000
2 | Supply & Labour charges towards PVC Drain Piping 32mm | Rmt | 220 | 140 | 30800
2 | Supply & Labour charges towards PVC Drain Piping 25mm | Rmt | 90 | 125 | 11250
G | Indoor Drain Pump for Hi Wall | Nos | 8 | 6500 | 52000
H | Timer with Relay (Server Room) | Nos | 1 | 4500 | 4500
I | Ducting & fans
1 | Supply & Installation charges towards Installation of Fresh Air Fan 100 CFM | Nos | 1 | 6500 | 6500
2 | Supply & Installation charges towards Installation of Fresh Air Fan 250 CFM | Nos | 1 | 8000 | 8000
3 | Supply & Installation charges towards Installation of Fresh Air Fan 300 CFM | Nos | 1 | 9500 | 9500
4 | Supply & Installation charges towards Installation of Fresh Air Fan 350 CFM | Nos | 1 | 10500 | 10500
5 | Supply & Installation of Rectangular Ducting for Fresh Air with clamp supports etc. | Sqft | 665 | 135 | 89775
6 | Supply & Fixing of Nitrile Rubber Insulation -6 mm thick | Sqft | 685 | 90 | 61650
7 | Supply & Installation of Oval Ducting for Ductable | Sqft | 750 | 185 | 138750
8 | Supply & Fixing of Nitrile Rubber Insulation -13 mm thick | Sqft | 750 | 155 | 116250
9 | Supply & Fixing of Acoustic insulation for Supply air duct with the thickness of 10mm self adhesive. For Supply air mouth piece up to 1.5 Mtr distance. | Sqft | 95 | 135 | 12825
10 | Supply & Installation of Flexible Ducting Dia 100mm | Mtrs | 16 | 1350 | 21600
11 | Supply and Installation of fire rated Canvass Connection for Fresh Air Fan | Nos | 8 | 2000 | 16000
12 | Supply and Installation of Canvass Connection for Ductable unit | Nos | 3 | 3500 | 10500
13 | Supply and Installation and testing of Mild steel air Louvered with Bird Screen | Nos | 4 | 1850 | 7400
14 | Round Diffuser with Butterfly Damper 200 Dia | Nos | 15 | 3600 | 54000
J | G.I cable tray
1 | 300 mm width X 50 mm depth X 1.6 mm thickness | Rmt | 60 | 1150 | 69000
2 | 150 mm width X 50 mm depth X 1.6 mm thickness | Rmt | 25 | 750 | 18750
K | Additional Refrigerant Charging as per copper length. | Kg's | 55 | 1150 | 63250
L | Scaffolding | Lot | 1 | 15000 | 15000
M | Lifting Shifting VRV ODU & IDU on all floors | Lot | 1 | 35000 | 35000
N | Mahtadi Charges | Lot | 1 | 25000 | 25000
O | Transportation of spares and materials | Lot | 1 | 5000 | 5000
P | Fabrication of Outdoor Unit Platform for VRV | Lot | 8 | 9750 | 78000
Q | Platform type stand of Outdoor unit | Nos | 1 | 5500 | 5500
Total Basic Low side for machine installation |  |  |  |  | 2346045
422288.1
Total (Low Side) |  |  |  |  | 2768333.1
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
9 | All Electrical power cables and power points will under the customer scope.
10 | We have not consider Linear Grill and Collar Damper in Quotation

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 28.03.2026
Methodex System Pvt Ltd
Site Address: - NMMT Sports Complex, sector-12, Vashi, Navi Mumbai.
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.