## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | ICICI Home Finance Company Limited |  |  | Date :- | 04.01.2025
Site Address: - 2nd Floor, Siddhivinayak Prasad CHSL, Above Kulswamini Vastradalan, Bajarpeth, Sarvodaynagar Badlapur West, 421503
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Dismentaling of Existing Hi Wall Units |  | Nos. | 6 | 1000 | 6000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 2.0 TR |  | Nos. | 2 | 2500 | 5000
3 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR |  | Nos. | 3 | 1500 | 4500
4 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 27 | 950 | 25650
5 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 45 | 850 | 38250
6 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 80 | 155 | 12400
7 | Drain Pipe 25 mm PVC Pipe |  | Mtrs. | 35 | 150 | 5250
8 | Drain Pipe 32 mm PVC Pipe |  | Mtrs. | 15 | 180 | 2700
9 | Cable Tray |  | Mtrs. | 35 | 700 | 24500
11 | Chiseling Work |  | Mtrs. | 35 | 170 | 5950
12 | Lifting Shifting with Transportation |  | Mtrs. | 1 | 3000 | 3000
D | TOTAL BASIC LOW SIDE |  |  |  |  | 133200
E | GST@ 18% |  |  |  |  | 23976
F | Total Low Side Value |  |  |  |  | 157176
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals