## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Hindustan Times Media Limited |  |  | Date :- | 09.05.2025
Site Address: - 2nd floor
Sr. No. | DETAILS OF MACHINES |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Daikin Inverter 1.8 TR Hi Wall Unit |  | Nos. | 3 | 39700 | 119100
2 | Daikin Inverter 1.8 TR Hi Wall Unit |  | Nos. | 1 | 39700 | 39700
3 | Daikin Inverter 1.0 TR Hi Wall Unit |  | Nos. | 1 | 26400 | 26400
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 185200
B | GST @ 28% |  |  |  |  | 51856
C | Total High Side Value |  |  |  |  | 237056
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
A | LOW SIDE WORK
1 | Dismantaling of Existing Hi Wall Unit - 1.0 TR & 1.8 TR |  | Nos. | 5 | 1000 | 5000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of 1.0 TR & 1.8 TR Hi Wall Unit |  | Nos. | 5 | 1600 | 8000
3 | Refrigeration Piping for 1.0 TR Hi Wall Unit |  | Mtrs. | 80 | 900 | 72000
4 | Supply & Labour towards Communication Cable between IDU & ODU 4Core x 2.5SQMM conduits |  | Mtrs. | 88 | 150 | 13200
5 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 10 | 140 | 1400
6 | Outdoor L - Type Stand |  | Nos. | 5 | 950 | 4750
B | Electrical Work
1 | Supply towards Power Cable 3 Core 4 Sq mm conduits |  | Mtrs. | 88 | 250 | 22000
C | TOTAL BASIC LOW SIDE |  |  |  |  | 126350
D | GST@ 18% |  |  |  |  | 22743
E | Total Low Side Value |  |  |  |  | 149093
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals