## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | ICICI Home Finance Company Limited |  |  | Date :- | 06.06.2024
Site Address: - New Branch : S V Prime, S NO.149/C plot No 15 ,S V Prime, 2nd Floor Above Nexa Showroom, Hotgi Road Solapur, -413003
Sr. No. | DETAILS OF MACHINES |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | 1.8 TR Hi Wall Unit (New) |  | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Dismantling of Existing Cassette Unit - 2.0 TR |  | Nos. | 2 | 1500 | 3000
2 | Dismantling of Existing Hi Wall Unit - 1.0 TR, 1.5 TR & 1.8 TR |  | Nos. | 4 | 1000 | 4000
3 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR, 1.5 TR & 1.8 TR (Existing Unit) |  | Nos. | 4 | 1500 | 6000
4 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.8 TR (New Unit) |  | Nos. | 1 | 1500 | 1500
5 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 2.0 TR (Existing Unit) |  | Nos. | 2 | 2500 | 5000
6 | Refrigeration Piping for Hi Wall Unit - 1.0 TR |  | Mtrs. | 35 | 850 | 29750
7 | Refrigeration Piping for Cassette Unit - 1.5 TR & 2.0 TR |  | Mtrs. | 115 | 950 | 109250
8 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 165 | 155 | 25575
9 | Drain Pipe 25mm Thick Hard PVC |  | Mtrs. | 75 | 150 | 11250
10 | Outdoor Unit Existing Stand Fabrication Modification |  | L/S | 1 | 7500 | 7500 | Note:- If Required
11 | AC Servicing of Hi Wall Existing Unit |  | Nos. | 4 | 750 | 3000
12 | AC Servicing of Cassette Existing Unit |  | Nos. | 2 | 1250 | 2500
13 | AC Gas Top-Up (Hi Wall Unit) - 1.0 TR, 1.5 TR & 1.8 TR |  | Nos. | 4 | 950 | 3800
14 | AC Gas Top-Up (Cassette Unit) - 2.0 TR |  | Nos. | 2 | 1550 | 3100
15 | Supply & Installation of Drain Pump |  | Nos. | 1 | 5500 | 5500
16 | Lifting Shifting |  | L/S | 1 | 3500 | 3500
17 | Transportation of units from old office to new office |  | L/S | 1 | 3500 | 3500
18 | Cable Tray |  | Mtrs. | 50 | 650 | 32500
19 | Core Cutting |  | Nos. | 3 | 2000 | 6000
20 | Chiseling Work |  | Mtrs. | 45 | 150 | 6750
D | TOTAL BASIC LOW SIDE |  |  |  |  | 272975
E | GST@ 18% |  |  |  |  | 49135.5
F | Total Low Side Value |  |  |  |  | 322110.5
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 322110.5
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals