Ek outdoor poora cheng kar na hoga

Second ac compressor and motor problem and running capacity and fan capacity problem

Gas lage ga

3d ac compressor problem and motor problem

Gas charging

Ek ac 10 fit pip and wair 3 mitar and drain pip 4 mitar

Second ac 10 fit pip and wair 3 mitar and drain pip 4 mitar

3d ac copper pip 23 fit wair 8 mitar and drain pip 4 mitar

3 ac dishmental bhi karna hai

Gas no – R22

3 AC Tons - 1.5 TR