## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Bajaj Finance Limited |  |  | Date :- | 20.12.2023
Site Address: - Bajaj Finance Limited ,Ward No 13, Purana Bazar, Buxa Fider Road, Alipurduar - 736121
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Conference Room | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
2 | Pantry Area | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
3 | Cash Room | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
4 | Reception Area | 2.0 TR Cassette AC | Nos. | 1 |  | 0
5 | Work Area - 1 | 2.0 TR Cassette AC | Nos. | 1 |  | 0
6 | Work Area - 2 | 2.0 TR Cassette AC | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR |  | Nos. | 3 | 1400 | 4200
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 2.0 TR |  | Nos. | 3 | 1900 | 5700
3 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 45 | 800 | 36000
4 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 53 | 850 | 45050
5 | Interconnecting Cable Indoor & Outdoor for Hi-Wall & Cassette Unit |  | Mtrs. | 110 | 120 | 13200
6 | Drain Pipe 25 mm Thick Hard PVC for Hiwall Unit |  | Mtrs. | 95 | 110 | 10450
7 | Outdoor Unit Stand for Hi Wall Unit |  | Nos. | 3 | 700 | 2100
8 | Outdoor Unit Stand for Cassette Unit |  | Nos. | 3 | 800 | 2400
9 | Core Cutting |  | Nos. | 6 | 1500 | 9000
10 | Cable Tray |  | Mtrs. | 28 | 650 | 18200 | Note:- Not in RC
D | TOTAL BASIC LOW SIDE |  |  |  |  | 146300
E | GST@ 18% |  |  |  |  | 26334
F | Total Low Side Value |  |  |  |  | 172634
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 172634
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals