## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Durian Industries Ltd |  |  | Date :- | 26.12.2023
Site Address: - Unit 1C/1D, First Floor, Prithvi Centre, G.S. Road, Lachitnagar, Guwahati - 781007
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | 1st Floor | 4.0 TR Cassette Unit | Nos. | 3 |  | 0
2 | 2nd Floor | 4.0 TR Cassette Unit | Nos. | 3 |  | 0
3 | 3rd Floor | 4.0 TR Cassette Unit | Nos. | 3 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 4.0 TR |  | Nos. | 9 | 3500 | 31500
2 | Refrigeration Piping for Cassette Unit - 4.0 TR |  | Mtrs. | 107 | 1000 | 107000
3 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 113 | 150 | 16950
4 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 62 | 140 | 8680
5 | Cable Tray (Size - 1.5mm) |  | Mtrs. | 125 | 650 | 81250
6 | Outdoor Unit Floor Stand for Cassette Unit |  | Nos. | 3 | 850 | 2550 | Note:- 6 Nos. Existing Stand will be Re-used
7 | Core Cutting |  | Nos. | 9 | 1800 | 16200
D | TOTAL BASIC LOW SIDE |  |  |  |  | 264130
E | GST@ 18% |  |  |  |  | 47543.4
F | Total Low Side Value |  |  |  |  | 311673.4
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 311673.4
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals