## Sewree
AC Replacement at Mahindra Sewri
S. No. | Area | Product Description | Qty | Unit | Rate | Amount
Hi Side A
1 | CIS Office | 1.0 TR Capacity Hi Wall Spilt Air conditioner .Inverter 5 Star (FTKM35) Daikin Make | 1 | Nos. | 0 | 0
2 | Explorer Room | 1.5 TR Capacity Hi Wall Spilt Air conditioner .Inverter 5 Star (FTKM50) Daikin Make | 1 | Nos. | 0 | 0
3 | Explorer Room | 1.8 TR Capacity Hi Wall Spilt Air conditioner .Inverter 5 Star (FTKM60) Daikin Make | 1 | Nos. | 0 | 0
4 | Kernal Room | 1.8 TR Capacity Hi Wall Spilt Air conditioner .Inverter 5 Star (FTKM60) Daikin Make | 1 | Nos. | 0 | 0
5 | Canteen Area | 1.8 TR Capacity Hi Wall Spilt Air conditioner .Inverter 5 Star (FTKM60) Daikin Make | 1 | Nos. | 0 | 0
6 | Canteen Area | 1.5 TR Capacity Hi Wall Spilt Air conditioner .Inverter 5 Star (FTKM50) Daikin Make | 1 | Nos. | 0 | 0
7 | Small Canteen | 1.8 TR Capacity Hi Wall Spilt Air conditioner .Inverter 5 Star (FTKM60) Daikin Make | 1 | Nos. | 0 | 0
8 | Server Room | 1.5 TR - Ogeneral Make 5 star Window Unit airconditioner Daikin Make | 1 | Nos. | 31432 | 31432
9 | Phoenix room | 2.0 TR - Ogeneral Make 5 star Window Unit airconditioner Daikin Make | 1 | Nos. | 35000 | 35000
A |  | Basic Total Hi-side A |  |  |  | 66432
Low Side B
1 |  | Existing Air conditioner Dismantaling Charges. | 9 | Nos | 900 | 8100
2 |  | Hi Wall Split and Window Air conditioner Installation Testing & Commissioning Charges. | 9 | Nos | 1500 | 13500
3 |  | Refrigerant Copper Piping with Insulation & Clamping Charges. | 80 | RFT | 300 | 24000
4 |  | Communication Cabling indoor to Out door. | 50 | RFT | 55 | 2750
5 |  | PVC Drain Piping with Insulation & Clamping Charges . | 50 | RFT | 45 | 2250
9 |  | All Unit Lifting & Shifting Charges. | 1 | Job | 2000 | 2000
10 |  | Antirust Coating Outdoor Unit Only | 9 | Nos | 1500 | 13500
11 |  | Buy Back of Old AC | 9 | Nos | 2000 | 18000
B | Basic Total Low Side B |  |  |  |  | 48100
A+B | Total Hi-side + Low-side (A+B) |  |  |  |  | 114532
Note - The Buyback Program is a action entirely separate from, and independent of, the terms and conditions of this Tender Offer
Warranty Terms For Air conditioner 1 Year For Unit & 5 Years for Compressor
Payment Terms - 100% after work completion