## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | City Union Bank |  |  | Date :- | 18.08.2025
Site Address: - Mumbai Khar West Branch, Shop No 1, Plot No. 634, TPS- III, Khar Pali Road, Khar West, Mumbai - 400 052.
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | ATM | 1.0 TR Hi Wall Unit | Nos. | 2 |  | 0
2 | Server Room | 1.0 TR Hi wall Unit | Nos. | 2 |  | 0
3 | Manager Cabin | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
4 | Lobby Area | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
5 | Work Station | 2.0 TR Cassette Unit | Nos. | 1 |  | 0
6 | Upper Side | 1.0 TR Hi wall Unit | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR |  | Nos. | 7 | 1700 | 11900
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 2.0 TR |  | Nos. | 1 | 3200 | 3200
3 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 95 | 950 | 90250
4 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 14 | 1050 | 14700
5 | Interconnecting Cable Indoor & Outdoor For 4 Core 2.5 Sqmm |  | Mtrs. | 117 | 175 | 20475 | Not in RC
6 | Drain Pipe PVC Pipe for Hi Wall Unit |  | Mtrs. | 40 | 110 | 4400
7 | Drain Pipe PVC Pipe for Cassette Unit |  | Mtrs. | 12 | 170 | 2040
8 | Outdoor Unit L -Type Stand |  | Nos. | 5 | 850 | 4250
9 | Outdoor Unit L -Type Stand for Cassette Unit |  | Nos. | 1 | 1200 | 1200
10 | Fabricated Outdoor Unit L -Type Platform Stand (Server Room ) |  | Nos. | 2 | 4500 | 9000
11 | Timer |  | Nos. | 2 | 3200 | 6400
12 | Drain Pump |  | Nos. | 2 | 6500 | 13000 | IF REQUIRED
D | TOTAL BASIC LOW SIDE |  |  |  |  | 180815
E | GST@ 18% |  |  |  |  | 32546.7
F | Total Low Side Value |  |  |  |  | 213361.7
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 213361.7
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals