## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Cholamandalam MS General Insurance Co. Ltd |  |  | Date :- | 15.04.2026
Site Address: - Office No. 1301/1302/1303, 13th Floor, Maithili Signet, Plot No, 39/4, Sector- 30, Vashi, Navi Mumbai, Maharashtra, Pin code: 400703
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Entrance | 1.8 TR Hi Wall Unit | Nos. | 1 |  | 0
2 | Work Area | 1.8 TR Hi Wall Unit | Nos. | 2 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 18% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.8 TR |  | Nos. | 3 | 1600 | 4800
2 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 65 | 900 | 58500
3 | White tape wrapping for copper pipe |  | Mtrs. | 65 | 50 | 3250
4 | Interconnecting Cable Indoor & Outdoor 4 Core 2.5 Sqmm |  | Mtrs. | 70 | 175 | 12250 | Not in RC
5 | Drain Pipe 25 mm PVC Pipe |  | Mtrs. | 17 | 160 | 2720
6 | Drain Piump |  | Nos. | 1 | 6100 | 6100 | IF REQUIRED
7 | Refrigerant Top Up (If Required) |  | Kg. | 3 | 1200 | 3600
8 | Outdoor Unit L -Type Stand |  | Nos. | 3 | 900 | 2700
D | TOTAL BASIC LOW SIDE |  |  |  |  | 93920
E | GST@ 18% |  |  |  |  | 16905.6
F | Total Low Side Value |  |  |  |  | 110825.6
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 110825.6
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals