## Summary
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name |  | Dated | 2025-07-22
CHANDIVALI NAHAR AMARYLLIS
Site Address: - CHANDIVALI NAHAR AMARYLLIS, ANDHERI EAST
SR. NO | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGHSIDE
| TOTAL HIGHSIDE | 378780 | 106058.4 | 484838.4
LOWSIDE
| TOTAL LOWSIDE | 572845 | 103112.1 | 675957.1
| TOTAL HIGHSIDE + LOWSIDE | 951625 | 209170.5 | 1160795.5

## HIGH SIDE
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name |  | Dated | 2025-07-22
CHANDIVALI NAHAR AMARYLLIS
Site Address: - CHANDIVALI NAHAR AMARYLLIS, ANDHERI EAST
BILL OF QUANTITIES
HIGH SIDE WORK
SR. NO. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin Ductable Airconditioners
A | Daikin Units
1 | Supply of Daikin Make Ductable AC Unit 8.5 TR - FDR100FRV16 | Nos. | 1 | 163130 | 163130
2 | Supply of Daikin Make Ductable AC Unit 5.5 TR - FDR65FRV16 | Nos. | 1 | 122650 | 122650
3 | Supply of Daikin Make Hi Wall AC Unit 1.5 TR | Nos. | 1 | 34000 | 34000
4 | Supply of Daikin Make Hi Wall AC Unit 1.0 TR | Nos. | 2 | 29500 | 59000
| Sub Total |  |  |  | 378780
| GST 28% |  |  |  | 106058.4
| Total (High Side) |  |  |  | 484838.4

## LOW SIDE
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name |  | Dated | 2025-07-22
CHANDIVALI NAHAR AMARYLLIS
Site Address: - CHANDIVALI NAHAR AMARYLLIS, ANDHERI EAST
BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation, Testing & Commissioning Charges for Ductable Units
1 | Labour charges towards Installation of Ductable Unit 8.5 TR | Nos | 1 | 8500 | 8500
2 | Labour charges towards Installation of Ductable Unit 5.5 TR | Nos | 1 | 5500 | 5500
3 | Labour charges towards Installation of Hi Wall AC Indoor Unit 1.5 TR | Nos | 2 | 1650 | 3300
4 | Labour charges towards Installation of Hi Wall AC Indoor Unit 1.0 TR | Nos | 1 | 1650 | 1650
B | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation as Required - Elbows /Coupling / Wooden Supports for 5.5 TR Ductable unit | Rmt | 23 | 2000 | 46000
2 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation as Required - Elbows /Coupling / Wooden Supports for 8.5TR Ductable unit | Rmt | 23 | 2400 | 55200
3 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation as Required - Elbows /Coupling / Wooden Supports for 1.0TR & 1.5TR Hiwall unit | Rmt | 45 | 1050 | 47250
C | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 3 Core 2.5Sqmm conduits for 5.5TR & 8.5TR Ductable Units | Rmt | 26 | 180 | 4680
2 | Supply & Labour towards Communication Cable betweem IDU to ODU 4 Core 1.5Sqmm conduits for 5.5TR & 8.5TR Ductable Units | Rmt | 26 | 180 | 4680
3 | Supply & Labour towards Power Cable betweem IDU to ODU 4 Core 2.5Sqmm conduits for 1.0TR & 1.5TR Hiwall Units | Rmt | 51 | 250 | 12750
D | Drain Pipe :
1 | Supply & Labour charges towards PVC Drain Piping 40mm | Rmt | 27 | 180 | 4860
2 | Supply & Labour charges towards PVC Drain Piping 32mm | Rmt | 10 | 140 | 1400
E | Indoor Drain Pump for Hi Wall | Nos | 1 | 6500 | 6500
F | Timer with Relay | Nos | 1 | 5500 | 5500
G | Ducting work
1 | Supply, installation, testing & commissioning of 24G Rectangular ducting with its Accessories | Sqft | 940 | 110 | 103400
2 | Supply & Installation of 9 mm Nitrile Insulation | Sqft | 940 | 80 | 75200
3 | Supply, installation, testing & commissioning of Fresh Air Ducting with made 24G Ducting | Sqft | 80 | 110 | 8800
4 | Supply & Installation of Supply & Return Air Diffuser | Sqft | 25 | 1400 | 35000
5 | Supply & Installation of VAV (Variable Air Volume) box damper control | Nos. | 1 | 22500 | 22500
H | Supply & Installation charges towards Installation of Fresh Air Fan 200 CFM | Nos | 2 | 18000 | 36000
I | Supply and Installation and testing of Mild steel air Louvered with Bird Screen | Nos | 2 | 1100 | 2200
J | Canvas Connection
1 | Supply and Installation of fire rated Canvass Connection for Ductable unit | Sqft | 10 | 2100 | 21000
K | Lifting Shifting | Lot | 1 | 15000 | 15000
L | Scaffolding (Big Size) | Lot | 1 | 10000 | 10000
M | Transportation of Material Oxy Acytlene Set / Nitrogen and Other tools. | L/S | 1 | 3500 | 3500
N | Civil work for cutting chiseling of wall to conseal copper pipe , drain pipe electrical wire with plaster and Core Cutting | L/S | 1 | 10000 | 10000
O | FABRICATED STAND FOR ODU
1 | Charges towards FABRICATED STAND - For 8.5 TR & 5.5 TR Ductable unit | Kg's | 105 | 195 | 20475
2 | L type stand of Outdoor unit | Nos | 1 | 2000 | 2000
| Total Basic Low side for machine installation |  |  |  | 572845
| GST 18% |  |  |  | 103112.1
| Total (Low Side) |  |  |  | 675957.1

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 2025-07-22
CHANDIVALI NAHAR AMARYLLIS
Site Address: - CHANDIVALI NAHAR AMARYLLIS, ANDHERI EAST
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.