## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Cholamandalam Investment & Finance Company Ltd |  |  | Date :- | 06.03.2024
Site Address: - 1/1A, Khilare Patil Rd, Erandwana Gaothan, Erandwane, Pune, Maharashtra 411004
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
Reception Area - Voltas Unit (Ductable 5.5TR - AC 1)
1 | Indoor & Outdoor Unit Jet Pump Service |  | Nos. | 1 | 3025 | 3025
Reception Area - Voltas Unit (Ductable 5.5TR - AC 2)
2 | Indoor & Outdoor Unit Jet Pump Service |  | Nos. | 1 | 3025 | 3025
3 | Leak Testing with Nitrogen Flushing & Vaccumizing |  | Nos. | 1 | 4000 | 4000
4 | Dryer |  | Nos. | 1 | 1750 | 1750
5 | AC Gas Charging - R22 |  | Nos. | 1 | 6000 | 6000
Store Room - Voltas Unit (Ductable 5.5TR - AC 1)
6 | Indoor & Outdoor Unit Jet Pump Service |  | Nos. | 1 | 3025 | 3025
7 | Outdoor Unit Contactor - 3 Phase |  | Nos. | 1 | 2200 | 2200
8 | Relay |  | Nos. | 1 | 2160 | 2160
Store Room - Voltas Unit (Ductable 5.5TR - AC 2)
9 | Indoor & Outdoor Unit Jet Pump Service |  | Nos. | 1 | 3025 | 3025
Lap Room - Voltas Unit (Ductable 8.5TR - AC 1)
10 | Indoor & Outdoor Unit Jet Pump Service |  | Nos. | 1 | 4750 | 4750
11 | Leak Testing with Nitrogen Flushing & Vaccumizing |  | Nos. | 1 | 4000 | 4000
12 | Dryer | Dryer | Nos. | 1 | 1750 | 1750
13 | AC Gas Charging - R22 |  | Nos. | 1 | 9000 | 9000
Lap Room - Voltas Unit (Ductable 8.5TR - AC 2)
14 | Indoor & Outdoor Unit Jet Pump Service |  | Nos. | 1 | 4750 | 4750
15 | Outdoor Unit Contactor - 3 Phase |  | Nos. | 1 | 2200 | 2200
16 | Air Balancing of Ducting |  | L/S | 1 | 4200 | 4200
17 | MCB 40A 4Pole |  | Nos. | 1 | 3250 | 3250
UPS Room - Voltas Unit (Ductable 5.5TR - AC 1)
18 | Indoor & Outdoor Unit Jet Pump Service |  | Nos. | 1 | 3025 | 3025
19 | Timer |  | Nos. | 1 | 2500 | 2500
20 | PCB Card Reparing |  | Nos. | 1 | 4200 | 4200
UPS Room - Voltas Unit (Ductable 5.5TR - AC 2)
21 | Indoor & Outdoor Unit Jet Pump Service |  | Nos. | 1 | 3025 | 3025
22 | 4 Core Copper Armored Cable, 10 Sqmm Copper |  | Mtrs. | 38 | 750 | 28500
23 | MCB 32A 4Pole |  | Nos. | 1 | 3250 | 3250
Office Area - LG Unit (VRV Cassette - 17 HP)
24 | Indoor & Outdoor Unit Jet Pump Service |  | Nos. | 5 | 1920 | 9600
CS Cabin - Carrier Unit (Hi Wall - 1.5 TR)
25 | Indoor & Outdoor Unit Jet Pump Service |  | Nos. | 1 | 1000 | 1000
26 | Gas Top - R22 |  | Nos. | 1 | 1250 | 1250
Lap Room - Carrier Unit (Hi Wall - 1.0 TR)
27 | Indoor & Outdoor Unit Jet Pump Service |  | Nos. | 1 | 1000 | 1000
28 | Leak Testing with Nitrogen Flushing & Vaccumizing |  | Nos. | 1 | 950 | 950
29 | AC Gas Charging - R22 |  | Nos. | 1 | 1800 | 1800
VS Room - BPL Unit (Hi Wall - 1.0 TR)
30 | Indoor & Outdoor Unit Jet Pump Service |  | Nos. | 1 | 1000 | 1000
Server Room - Daikin Unit (Hi Wall - 1.8 TR)
31 | Indoor & Outdoor Unit Jet Pump Service |  | Nos. | 1 | 1000 | 1000
A | TOTAL BASIC LOW SIDE |  |  |  |  | 124210
B | GST@ 18% |  |  |  |  | 22357.8
C | Total Low Side Value |  |  |  |  | 146567.8
Note:-
1 | We will be providing a free Dry Service In 3rd Month After Completion Of Work.
2 | Gas Charging & Gas Top-Up - 3 Months of Warranty After Work Completion & Commissioning of AC's