## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Aditya Birla Home Finance Ltd. |  |  | Date :- | 06.09.2024
Site Address: - Sree Karthik Plaza, 2nd Floor, Durgigudi main road, Opp Lakshmi Galaxy, Shimoga ,BANGALORE, KARNATAKA, 560025
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Meeting Room | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
2 | Server Room | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
4 | Conference Room | 1.5 TR Hi Wall Unit | Nos. | 1 |  | 0
3 | Visitor Room | 1.5 TR Cassette Unit | Nos. | 1 |  | 0
5 | Room 2 | 2.0 TR Cassette Unit | Nos. | 1 |  | 0
6 | Room 3 | 2.0 TR Cassette Unit | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT |  | Aeon | 80% |  | Saif
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 1.5 TR & 2.0 TR |  | Nos. | 3 | 2000 | 6000 | 3 | 2000 | 1600 | 4800 | 1500 | 4500
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR & 1.5 TR |  | Nos. | 3 | 1500 | 4500 | 3 | 1500 | 1200 | 3600 | 1000 | 3000
3 | Refrigeration Piping for Cassette Unit - 1.5 TR & 2.0 TR |  | Mtrs. | 50 | 850 | 42500 | 50 | 850 | 680 | 34000 | 650 | 32500
4 | Refrigeration Piping for Hi Wall Unit - 1.0 TR & 2.0 TR |  | Mtrs. | 35 | 850 | 29750 | 35 | 850 | 680 | 23800 | 650 | 22750
5 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 87 | 150 | 13050 | 87 | 150 | 120 | 10440 | 110 | 9570
6 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 55 | 120 | 6600 | 55 | 120 | 96 | 5280 | 96 | 5280
7 | Timer |  | Nos. | 1 | 3000 | 3000 | 1 | 3000 | 2400 | 2400 | 2000 | 2000
8 | Outdoor Unit Stand L - Type for Hi Wall Unit |  | Nos. | 3 | 750 | 2250 | 3 | 750 | 600 | 1800 | 600 | 1800
9 | Outdoor Unit Stand L - Type for Cassette Unit |  | Nos. | 3 | 1200 | 3600 | 3 | 1200 | 960 | 2880 | 850 | 2550
10 | Drain Pump |  | Nos. | 1 | 7000 | 7000 | 1 | 7000 | 5600 | 5600 | 5100 | 5100
D | TOTAL BASIC LOW SIDE |  |  |  |  | 118250
E | GST@ 18% |  |  |  |  | 21285
F | Total Low Side Value |  |  |  |  | 139535
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 139535 |  |  | 1500
1000
650
Note:- | [8 empty] | 650
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement | [7 empty] | 110
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates | [7 empty] | 96
3 | Drain Pump or any item not listed if required will cost extra | [7 empty] | 2000
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals | [7 empty] | 600
5 | Any Civil Work is not in our scope. If required will be charged extra | [7 empty] | 850
6 | Lifting and Shifting if required will be Extra | [7 empty] | 5100
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals