## AC
Vender | VH Township PVT LTD | [5 empty] | Date - 26.06.2025
Project | The Cliff Gardren- Club house at IJK
Summary - Bill of Quantities :
[6 empty] | MAKE | Daikin
LOW SIDE WORK
As per Amendment
Sr. No. | Item Description | Unit | Qty | Total units | Total Qty | Basic Rate | Amount (₹) | Remarks
Socity office
For Supply :-
A | Supply of Hi Wall Unit - 1.5 TR 3Star Inverter Split (FTKC50) including gas top-up etc. | Nos. | 1 | 1 | 1 | 26000 | 26000
| Supply Total |  |  |  | 0 |  | 26000
| 28% GST | [5 empty] | 7280
| Total High Side | [5 empty] | 33280
| For Supply & Installation :- |  |  |  | 0
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.5 TR 3 star | Nos. | 1 | 1 | 1 | 1300 | 1300
2 | Piping work including supply and instalation for 1.5TR Hi Wall Unit | RMT | 15 | 1 | 15 | 850 | 12750
3 | Interconnecting Cable Indoor & Outdoor - 2.5 sq.mm x 4 core | RMT | 15 | 1 | 15 | 140 | 2100 | Please mention if required any cable size change
4 | Interconnecting Power Cable - 1.5 sq.mm x 3 core | RMT | 15 | 1 | 15 | 130 | 1950 | Please mention if required any cable size change
5 | Drain Pipe - 25mm | RMT | 15 | 1 | 15 | 100 | 1500
6 | Outdoor Unit L-Stand for Hi Wall Unit | Nos. | 1 | 1 | 1 | 750 | 750
7 | Wrapping Tape and Sleeve for Drain Pipe | Nos. | 10 | 1 | 10 | 200 | 2000
8 | Three Pin Top | Nos. | 1 | 1 | 1 | 150 | 150
9 | Rubber Stand | Nos. | 4 | 1 | 4 | 60 | 240
10 | Drain Insulation | Nos. | 15 | 1 | 15 | 30 | 450
| Sub Total |  |  |  | 0 |  | 23190
| 18% GST |  |  |  | 0 |  | 4174.2
| Total Low Side |  |  |  | 0 |  | 27364.2
Gyminasium & Indoor Games
For Supply :-
B | Supply of Hi Wall Unit - 2.02 TR 3Star Inverter Split (FTKL71) including gas top-up etc. | Nos. | 1 | 4 | 4 | 46500 | 186000
| Supply Total | [5 empty] | 186000
| 28% GST | [5 empty] | 52080
| Total High Side | [5 empty] | 238080
For Supply & Installation :-
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 2.02 TR 3 star | Nos. | 1 | 4 | 4 | 1300 | 5200
2 | Piping work including supply and instalation for 2.02TR Hi Wall Unit | RMT | 15 | 4 | 60 | 850 | 51000
3 | Interconnecting Cable Indoor & Outdoor - 2.5 sq.mm x 4 core | RMT | 15 | 4 | 60 | 140 | 8400 | Please mention if required any cable size change
4 | Interconnecting Power Cable - 1.5 sq.mm x 3 core | RMT | 15 | 4 | 60 | 130 | 7800 | Please mention if required any cable size change
5 | Drain Pipe - 25mm | RMT | 15 | 4 | 60 | 100 | 6000
6 | Outdoor Unit L-Stand for Hi Wall Unit | Nos. | 1 | 4 | 4 | 750 | 3000
7 | Wrapping Tape and Sleeve for Drain Pipe | Nos. | 10 | 4 | 40 | 200 | 8000
8 | Three Pin Top | Nos. | 2 | 4 | 8 | 150 | 1200
9 | Rubber Stand | Nos. | 4 | 4 | 16 | 60 | 960
10 | Drain Insulation | Nos. | 15 | 4 | 60 | 30 | 1800
| Sub Total | [5 empty] | 93360
| 18% GST | [5 empty] | 16804.8
| Total Low Side | [5 empty] | 110164.8
| Gst Total of High Side | [5 empty] | 271360
| Gst Total of Low Side | [5 empty] | 137529
| Gst Total High Side & Low Side | [5 empty] | 408889
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals