## Summary
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name |  | Dated | 2025-06-13
ICICI BANK LTD
Site Address: - Shop No 6, Namik Niwas, Bhulabhai Desai Marg, near Tata Garden, Breach Candy, Cumballa Hill, Mumbai, Maharashtra 400036.
SR. NO | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGH SIDE
| TOTAL HIGH SIDE | 525580 | 147162.4 | 672742.4
LOW SIDE
| TOTAL LOW SIDE | 254250 | 45765 | 300015
| TOTAL HIGH SIDE + LOW SIDE | 779830 | 192927.4 | 972757.4

## HS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 2025-06-13
ICICI BANK LTD
Site Address: - Shop No 6, Namik Niwas, Bhulabhai Desai Marg, near Tata Garden, Breach Candy, Cumballa Hill, Mumbai, Maharashtra 400036.
BILL OF QUANTITIES
HIGH SIDE WORK
Sr. No. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin VRV Airconditioners
A | Daikin Outdoor Units
1 | Supply of Daikin Make 8 HP VRV Outdoor Unit Side Discharge - RXMQ8ARV16 | Nos. | 1 | 162400 | 162400
B | Daikin Indoor Units
1 | Supply of Daikin Make VRV Compact Cassette AC Indoor Unit 1.6 TR - FXZQ50BVM6 | Nos. | 1 | 59920 | 59920
2 | Supply of Daikin Make VRV Cassette AC Indoor Unit 1.33 TR - FXFSQ40ARV16 | Nos. | 2 | 47600 | 95200
3 | Supply of Daikin Make VRV Compact Cassette AC Indoor Unit 1.08 TR - FXZQ32BVM6 | Nos. | 1 | 54950 | 54950
4 | Supply of Daikin Make VRV Compact Cassette AC Indoor Unit 0.8 TR - FXZQ25BVM6 | Nos. | 1 | 54110 | 54110
5 | Supply of Daikin Make Hi Wall AC Unit 1.5 TR | Nos. | 1 | 34000 | 34000
6 | Supply of Daikin Make Hi Wall AC Unit 1.0 TR | Nos. | 1 | 29500 | 29500
C | IDU Refnut Joints | Nos. | 4 | 3500 | 14000
D | INLINE FAN (FRESH AIR) | Nos. | 1 | 21500 | 21500
Sub Total |  |  |  |  | 525580
GST 28% |  |  |  |  | 147162.4
Total (High Side) |  |  |  |  | 672742.4

## LS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 2025-06-13
ICICI BANK LTD
Site Address: - Shop No 6, Namik Niwas, Bhulabhai Desai Marg, near Tata Garden, Breach Candy, Cumballa Hill, Mumbai, Maharashtra 400036.
BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of 8 HP VRV Outdoor Unit. | Nos | 1 | 8000 | 8000
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
1 | Labour charges towards Installation of VRV Compact Cassette AC Indoor Unit 1.6 TR | Nos | 1 | 2500 | 2500
2 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 1.33 TR | Nos | 2 | 1650 | 3300
3 | Labour charges towards Installation of VRV Compact Cassette AC Indoor Unit 1.08 TR | Nos | 1 | 2500 | 2500
4 | Labour charges towards Installation of VRV Compact Cassette AC Indoor Unit 0.8 TR | Nos | 1 | 2500 | 2500
5 | Labour charges towards Installation of Hi Wall AC Indoor Unit 1.5 TR | Nos | 1 | 1650 | 1650
6 | Labour charges towards Installation of Hi Wall AC Indoor Unit 1.0 TR | Nos | 1 | 1650 | 1650
7 | Labour charges towards Nitrogen Pressure Testing, vaccuming, gas charging and Commissioning of 8 HP VRV ODU & IDUs | Nos | 1 | 5500 | 5500
C | Installtion IDU Refnets (Y-Distribution) Joints for Units | Nos | 4 | 500 | 2000
D | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 35 | 1200 | 42000
2 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for Non VRV Units | Rmt | 40 | 1050 | 42000
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.0 Sqmm with conduits | Rmt | 40 | 180 | 7200
2 | Supply & Labour towards Communication Cable betweem IDU to ODU 4 Core 1.5 Sqmm | Rmt | 45 | 180 | 8100
3 | Supply & Labour towards Power Cable betweem IDU to ODU 3 Core 1.5 Sqmm | Rmt | 15 | 180 | 2700
F | Drain Pipe :
1 | Supply & Labour charges towards PVC Drain Piping 40mm | Rmt | 20 | 180 | 3600
2 | Supply & Labour charges towards PVC Drain Piping 32mm | Rmt | 15 | 140 | 2100
G | Indoor Drain Pump for Hi Wall | Nos | 2 | 6500 | 13000
H | Timer with Relay | Nos | 2 | 5500 | 11000
I | Labour charges towards Installation of Fresh Air Fan 600 CFM | Nos | 1 | 2000 | 2000
J | Supply & Installation of Rectangular ducting for Fresh Air with clamp supports etc. | Sqft | 220 | 115 | 25300
K | Supply and Installation of fire rated Canvass Connection for Fresh Air Fan | Sqft | 4 | 2100 | 8400
L | Supply and Installation and testing of Mild steel air Louvered with Bird Screen | Nos | 1 | 1100 | 1100
M | Lifting Shifting VRV ODU & IDU on all floors | Lot | 1 | 15000 | 15000
N | Transportation of spares and materials | Lot | 1 | 3500 | 3500
O | Additional Refrigerant Charging as per copper length. | Kg's | 8 | 1050 | 8400
P | Fabrication of Outdoor Unit Cage for 8 HP VRV & NON VRV unit | Kg's | 150 | 195 | 29250
Total Basic Low side for machine installation |  |  |  |  | 254250
GST 18% |  |  |  |  | 45765
Total (Low Side) |  |  |  |  | 300015
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
9 | All Electrical power cables and power points will under the customer scope.
10 | We have not consider Linear Grill and Collar Damper in Quotation

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 2025-06-13
ICICI BANK LTD
Site Address: - Shop No 6, Namik Niwas, Bhulabhai Desai Marg, near Tata Garden, Breach Candy, Cumballa Hill, Mumbai, Maharashtra 400036.
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.