## BOQ_Nagpur
Client Name
Company Name :- |  | IndusInd Bank Ltd. |  |  | Date :- | 02.11.2023
Site Address: -Ground floor, Shop no. L1 & L2, Rana Palladium, Kashmiri Gali, Indora Square, Nagpur, Maharashtra, Pin code 440017
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | ATM Lobby | 1.0 TR Hi Wall AC | Nos. | 2 | 29000 | 58000
2 | BM Cabin | 1.0 TR Hi Wall AC | Nos. | 1 | 29000 | 29000
3 | Waiting Area | 1.5 TR Cassette AC | Nos. | 2 | 34000 | 68000
4 | Back Office | 1.0 TR Hi Wall AC | Nos. | 1 | 29000 | 29000
5 | Server / UPS | 1.0 TR Hi Wall AC | Nos. | 2 | 29000 | 58000
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 242000
B | GST @ 28% |  |  |  |  | 67760
C | Total High Side Value |  |  |  |  | 309760
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR |  | Nos. | 6 | 1500 | 9000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 1.5 TR |  | Nos. | 2 | 2000 | 4000
3 | Refrigerant Piping for Hi Wall Split |  | Mtrs. | 98 | 750 | 73500
4 | Refrigerant Piping for Cassette AC upto 2 TR |  | Mtrs. | 18 | 800 | 14400
5 | Control Cable for HI wall Split AC |  | Mtrs. | 115 | 140 | 16100
6 | Control Cable for Cassette AC |  | Mtrs. | 20 | 160 | 3200
7 | Drain Piping with 25mm Dia |  | Mtrs. | 80 | 100 | 8000
8 | AC Timer |  | Nos. | 2 | 4000 | 8000
9 | Outdoor Unit Fabrication Platform Stand 32FT (Scaffolding, Material and Including Installation Labour Charges) |  | KG's | 375 | 165 | 61875 | Note:- Billing will be done At Actual
10 | Civil work for cutting chisling of wall to conseal copper pipe , drain pipe electrical wire Without Plaster & Core Cutting |  | L/S | 1 | 10000 | 10000
D | TOTAL BASIC LOW SIDE |  |  |  |  | 208075
E | GST@ 18% |  |  |  |  | 37453.5
F | Total Low Side Value |  |  |  |  | 245528.5
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 555288.5
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
|  | Low side dealer Firm's Name : | Aeon Airconditioning Solutions
|  | Contact person 1 (Project Incharge) : | Ms. Pradnya Gaikwad
|  | Contact No. 1 : | 9137940454
|  | Contact person 2 (Propreitor) : | Mr. Asim Shaikh
|  | Contact No. 2 : | 9820580008
|  | Email Id : | asim.shaikh@aeonacsolutions.com
|  | Address : | Shop No. 6 & 7, Behind N cube china town, Ambedkar Rd., Thane W - 400604