## Summary
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: projects@aeonacsolutions.com Mob. No. - 9322334108
| Company Name |  | Dated | 2025-08-11
CHLOLAMANDALAM - THANE
Site Address: -Pushpamangalam Complex, Bldg 1, Office no 401 4th floor ,LBS Marg, Thane(W) Mumbai-400601.
SR. NO | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGH SIDE
| TOTAL HIGH SIDE | 0 | 0 | 0
LOW SIDE
| TOTAL LOW SIDE | 306045 | 55088.1 | 361133.1
| TOTAL HIGH SIDE + LOW SIDE | 306045 | 55088.1 | 361133.1

## HIGH SIDE
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: projects@aeonacsolutions.com Mob. No. - 9322334108
| Company Name |  | Dated | 12.08.2025
CHLOLAMANDALAM - THANE
Site Address: -Pushpamangalam Complex, Bldg 1, Office no 401 4th floor ,LBS Marg, Thane(W) Mumbai-400601.
BILL OF QUANTITIES
HIGH SIDE WORK
SR. NO. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin VRV Cassette & Hi Wall Airconditioners
A | Daikin Outdoor Units
1 | Supply of Daikin Make 16 HP VRV Outdoor Unit Side Discharge - RXQ16ARY6 | Nos. | 1 |  | 0
B | Daikin Indoor Units
1 | Supply of Daikin Make VRV Cassette AC Indoor Unit 1.33 TR -FXFSQ40ARV16 | Nos. | 2 |  | 0
2 | Supply of Daikin Make VRV Cassette AC Indoor Unit 1.6 TR - FXFSQ50ARV16 | Nos. | 5 |  | 0
3 | Supply of Daikin Make VRV Cassette AC Indoor Unit 1.08 TR - FXFSQ32ARV16 | Nos. | 1 |  | 0
8 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 1.08 TR - FXAQ32ARVE6 | Nos. | 1 |  | 0
9 | Supply of Daikin Make Non VRV Hi Wall AC Indoor Unit 1.0 TR - FTKM50U | Nos. | 1 |  | 0
C | Refnets | Nos. | 8 |  | 0
| Sub Total |  |  |  | 0
| GST 28% |  |  |  | 0
| Total (High Side) |  |  |  | 0

## LOW SIDE
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: projects@aeonacsolutions.com Mob. No. - 9322334108
|  | Company Name |  | Dated | 12.08.2025
CHLOLAMANDALAM - THANE
Site Address: - Pushpamangalam Complex, Bldg 1, Office no 401 4th floor ,LBS Marg, Thane(W) Mumbai-400601.
BILL OF QUANTITIES
LOW SIDE WORK
| Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
| A | Standard Installation Charges for VRV Outdoor Units
| 1 | Labour charges towards Installation of 16 HP VRV Outdoor Unit. | Nos | 1 | 16000 | 16000
| B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
| 1 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 1.33 TR | Nos | 2 | 3500 | 7000
| 2 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 1.6 TR | Nos | 5 | 3500 | 17500
| 3 | Labour charges towards Installation of VRV Cassette AC Indoor Unit 1.08 TR | Nos | 1 | 3500 | 3500
| 9 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 1.08 TR | Nos | 1 | 1600 | 1600
| 9 | Labour charges towards Installation of Hi Wall AC Indoor Unit 1.0 TR (NON VRV) | Nos | 1 | 1600 | 1600
| 10 | Labour charges towards Nitrogen Pressure Testing, vaccuming and Commissioning of 16 HP VRV ODU & IDUs | Nos | 1 | 7800 | 7800
| C | Installtion Refnets (Y-Distribution) Joints for Units | Nos | 8 | 500 | 4000
| D | Refrigerant Piping with Rubber Nitrile insulation
| 1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 47 | 1650 | 77550
| 2 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for Non VRV Units | Rmt | 23 | 900 | 20700
| E | Control Cable :
| 1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.5 Sqmm conduits | Rmt | 59 | 155 | 9145
| 2 | Supply & Labour towards Communication Cable betweem IDU to ODU 4 Core 1.5 Sqmm with conduits | Rmt | 28 | 165 | 4620
| 3 | Supply & Labour towards Power Cable betweem IDU to ODU 3 Core 1.0 Sqmm conduits | Rmt | 27 | 160 | 4320
| F | Drain Pipe :
| 1 | Supply & Labour charges towards PVC Drain Piping 40mm | Rmt | 15 | 190 | 2850
| 2 | Supply & Labour charges towards PVC Drain Piping 32mm | Rmt | 33 | 170 | 5610
| 3 | Indoor Drain Pump | Nos | 1 | 5500 | 5500 | IF REQUIRED
| G | Additional Refrigerant Charging as per copper length. | Kg's | 8 | 950 | 7600
| H | Timer with Relay | Nos | 1 | 5500 | 5500
hhhhhh | I | Lifting Shifting | Lot | 1 | 20000 | 20000
| J | Transportation of Material Oxy Acytlene Set / Nitrogen and Other tools. | L/S | 1 | 2500 | 2500
| K | Civil work for cutting chiseling of wall to conseal copper pipe , drain pipe electrical wire with plaster Chiseling and Core Cutting | L/S | 1 | 10000 | 10000
| L | Outdoor Unit Stand for NVRV unit | Nos | 1 | 1050 | 1050
| M | Fabrication of Outdoor Unit Stand for 16 HP Units | Nos | 1 | 21500 | 21500
| N | Condensing unit cowl | Nos | 1 | 9800 | 9800
| O | Cable Tray :
| 1 | Supply & Labour charges towards Cable Try Installation (300 X 50 mm) | Rmt | 14 | 950 | 13300
| 2 | Supply & Labour charges towards Cable Try Installation (200 X 50 mm) | Rmt | 30 | 850 | 25500
|  | Total Basic Low side for machine installation |  |  |  | 306045
|  | GST 18% |  |  |  | 55088.1
|  | Total (Low Side) |  |  |  | 361133.1

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: projects@aeonacsolutions.com Mob. No. - 9322334108
| Company Name | Dated | 2025-08-11
CHLOLAMANDALAM - THANE
Site Address: - Pushpamangalam Complex, Bldg 1, Office no 401 4th floor ,LBS Marg, Thane(W) Mumbai-400601.
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.