## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Cholamandalam Investment & Finance Company Limited |  |  | Date :- | 03.05.2024
Site Address: - Yamuna tarang complex 2nd floor Akola Murizapur road
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Dismantling Of Existing Hi Wall Unit. |  | Nos. | 5 | 800 | 4000 |  | 800
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 2.0 TR |  | Nos. | 8 | 1500 | 12000 |  | 1500
3 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 2.0 TR |  | Nos. | 4 | 2500 | 10000 |  | 2300
4 | Refrigeration Piping for Hi Wall Unit - 2.0 TR |  | Mtrs. | 165 | 850 | 140250 |  | 800
5 | Refrigeration Piping for Cassette Unit - 2.0 TR |  | Mtrs. | 107 | 950 | 101650 |  | 1050
6 | Interconnecting Cable Indoor & Outdoor For Hi Wall Unit |  | Mtrs. | 172 | 140 | 24080 |  | 135
7 | Interconnecting Cable Indoor & Outdoor For Cassette Unit |  | Mtrs. | 115 | 160 | 18400 |  | 145
8 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 105 | 120 | 12600 |  | 140
9 | Drain Pipe 32 mm Thick Soft PVC Pipe |  | Mtrs. | 56 | 150 | 8400 |  | 140
10 | AC Jet Pump Service |  | Nos. | 5 | 1000 | 5000 |  | 1000
11 | AC Gas Charging R22 |  | Nos. | 5 | 2000 | 10000 |  | 800
12 | Nitrogen Testing, Flushing & Vaccumizing |  | Nos. | 5 | 950 | 4750 |  | 950
13 | Civil Work |  | Mtrs. | 70 | 120 | 8400 |  | 120
14 | Core Cutting |  | Nos. | 5 | 2000 | 10000 |  | 2000
15 | Outdoor New Motor |  | Nos. | 1 | 3360 | 3360 | Note: 3 Months Warranty After Installation of Spare
A | TOTAL BASIC LOW SIDE |  |  |  |  | 372890
B | GST@ 18% |  |  |  |  | 67120.2
C | Total Low Side Value |  |  |  |  | 440010.2
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals