## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- MAHINDRA & MAHINDRA LTD |  |  |  |  | Date :- | 18.06.2025
Site Address: - MAHINDRA MAHINDRA LTD RAHEJA CHAMBER 1ST & 3RD FLOOR, NO 12 MUSEUM ROAD BANGALORE-560001.
LOW SIDE WORK (Measurement Sheet)
SR No | DESCRIPTION | UNITS | PO QTY | Actual As Per Site | M/S Daikin
[5 empty] | RATE | TOTAL AMOUNT
B | LOW SIDE WORKS
1 | Installation testing & commissioning of following air conditioner Indoor and outdoor Unit as per manufacturer standards.
1.1 | 1.0 TR Dx Hi-wall Unit | Nos. | 2 |  | 1500
1.2 | 2 TR Cassette Unit | Nos. | 2 | 2 | 3000 | 6000
1.3 | 1.0 TR Dx Hi-wall Unit (For Exisitng Unit) | Nos. | 2 |  | 1500
1.3 | 2.0 TR Dx Hi-wall Unit (For Exisitng Unit) | Nos. | 6 | 6 | 1500 | 9000
1.4 | Dismantling of Existing Units | Nos. | 6 | 6 | 1000 | 6000
2 | REFRIGERANT PIPING DX SPLIT SYSTEM
Supply, Installation and commissioning of hard / soft copper refrigerant piping, complete with Nitrile Insulation , fittings, elbows, bends, supporting arrangement on walls, cable trays/trenches.For machines having pipe length longer than 20mtrs.shall be resize to larger dia copper pipe.
2.1 | 1.0 TR Dx Hi-wall Unit | Rmt. | 40 | 14 | 900 | 12600
2.2 | 2 TR Cassette Unit | Rmt. | 40 | 38 | 950 | 36100
2.3 | 1.0 TR Dx Hi-wall Unit (For Exisitng Unit) | Rmt. | 50 | 50 | 900 | 45000
2.4 | 2.0 TR Dx Hi-wall Unit (For Exisitng Unit) | Rmt. | 50 | 50 | 900 | 45000
2 | FRAME WORK
Supply, fabrication and installation of MS base frame for indoor & outdoor units complete with epoxy painting, vibration isolation pads, supports, hangers, railing, brackets etc. Note: Apply 2 coats of epoxy primer and 2 coats of black paint
2.01 | 1.0 TR Dx Hi-wall Unit | Nos. | 2 | 2 | 1000 | 2000
2.02 | 2 TR Cassette Unit | Nos. | 2 | 2 | 1000 | 2000
2.03 | 2.0 TR Dx Hi-wall Unit | Nos. | 1 | 1 | 1000 | 1000
3 | ELECTRICAL AND CONTROL CABLING ALONG WITH EARTHING.
Supply installation, testing and commissioning of suitable power cables between safety isolator to outdoor/indoor unit as per manufacturers recommendations.
3.01 | 1.0 TR Dx Hi-wall Unit | Rmt. | 40 | 120 | 150 | 18000
3.02 | 2 TR Cassette Unit | Rmt. | 40 | 100 | 150 | 15000
3.03 | 2.0 TR Dx Hi-wall Unit (Exisitng Unit) | Rmt. | 70 | 100 | 150 | 15000
6 | Recharging of Referigerant Gas | Kg | 10 | 5.2 | 1100 | 5720
7 | Supply,installation, Commissionin and testing of Rigid heavy duty PVC drain piping duly insulated as per spacification with 9mm thick closed cell elastomeric nitrile rubber insulation.
7.01 | 32mm dia | Rmt | 40 | 32 | 140 | 4480
7.02 | 25mm dia | Rmt | 10 | 98 | 140 | 13720
B | TOTAL OF LOWSIDE WORKS |  |  |  |  | 236620
C | VENTILATION FANS
1 | SITC of single phase inline exhaust fan having all necessary controls & complete assembly
a | 350 CFM, 25MM ESP -Fresh air Fan office | Nos. | 1 | 2 | 11500 | 23000
b | 300 CFM, 25MM ESP -Exhaust air Fan toilet | Nos. | 3 | 1 | 10500 | 10500
C | TOTAL FOR VENTILATION FANS |  |  |  |  | 33500
| GRAND TOTAL |  |  |  |  | 270120