## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Third Wave Coffee |  |  | Date :- | 26.09.2024
Site Address: - Shop No 4,5 Ground Floor, Plot No 1, 1A, 1B, 1C, SHREEJI HEIGHTS, Sector-46/A, Sector 46A, Nerul, Navi Mumbai
Sr. No. | DETAILS OF MACHINES |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | 1.5 TR Hi Wall Unit |  | Nos. | 1 |  | 0
2 | 4.0 TR Cassette Unit |  | Nos. | 2 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.5 TR |  | Nos. | 1 | 1500 | 1500
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 4.0 TR |  | Nos. | 2 | 2000 | 4000
3 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 25 | 900 | 22500
4 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 30 | 1000 | 30000
5 | Interconnecting 4 Core Cable Indoor & Outdoor |  | Mtrs. | 61 | 175 | 10675
6 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 10 | 140 | 1400
7 | Drain Pipe 32 mm Thick Hard PVC Pipe |  | Mtrs. | 15 | 160 | 2400
8 | Fabricated Platform Outdoor Unit Stand |  | kgs. | 115 | 160 | 18400
9 | Cable Tray 150 x 50mm |  | Mtrs. | 13 | 750 | 9750
10 | Core Cutting 150mm |  | Nos. | 1 | 2000 | 2000 | Not in RC
D | TOTAL BASIC LOW SIDE |  |  |  |  | 102625
E | GST@ 18% |  |  |  |  | 18472.5
F | Total Low Side Value |  |  |  |  | 121097.5
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 121097.5
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals