## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | ICICI BANK |  |  | Date :- | 13.01.2025
Site Address: - SHOP No. 01 & 02, Goyal Villa 52/16, Regency Anantam road, Opp Regency Luxuria, Dombivali East 421203
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | ATM | 1.0 TR Hi Wall Unit | Nos. | 2 |  | 0
2 | Server Room | 1.0 TR Hi Wall Unit | Nos. | 2 |  | 0
3 | BM Cabin | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
4 | Back Office | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
5 | Meeting Room | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
6 | Branch Area | 2.0 TR Cassette Unit | Nos. | 2 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit 1.0TR |  | Nos. | 7 | 14700 | 102900
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette 2.0TR |  | Nos. | 2 | 20710 | 41420
3 | Refrigeration Piping for Cassette Unit 2.0TR |  | Mtrs. | 16 | 1200 | 19200
4 | Refrigeration Piping for Hi Wall Unit - 1.0 TR |  | Mtrs. | 73 | 1050 | 76650
5 | Interconnecting 4 Core Cable wire Indoor & Outdoor Unit |  | Mtrs. | 111 | 250 | 27750
6 | Outdoor unit Table type stand (Readymade) |  | Nos. | 2 | 1500 | 3000
7 | Timer |  | Nos. | 2 | 5500 | 11000
8 | Wall Chiseling without filling |  | Mtrs. | 36 | 110 | 3960
9 | Transportaion Charges |  | Lms. | 1 | 3500 | 3500
D | TOTAL BASIC LOW SIDE |  |  |  |  | 289380
E | GST@ 18% |  |  |  |  | 52088.4
F | Total Low Side Value |  |  |  |  | 341468.4
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 341468.4
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals