## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Javeed bhai |  |  | Date :- | 09.04.2026
Site Address: - West bengal
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Split Unit |  | Nos. | 16 | 1700 | 27200
2 | Supply & Installation of Refrigerant Piping for Split unit |  | MTR | 0 | 1000 | 0 | If Required
3 | Supply & Installation of communication cable for Split unit |  | MTR | 0 | 170 | 0 | If Required
4 | Supply & Installation drain pipe for Split unit |  | MTR | 55 | 160 | 8800
5 | L - type stand for Outdoor unit |  | Nos. | 16 | 900 | 14400
A | Total Basic Low Side |  |  |  |  | 50400
B | GST@ 18% |  |  |  |  | 9072
C | Total Low Side Value |  |  |  |  | 59472
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | Chiseling & Core cutting Work is not in our scope, it is in Client scope
9 | This is Estimated Quotation post site survey, Billing will be as per actuals