## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | IndusInd Bank Ltd. |  |  | Date :- | 20.11.2023
Site Address: - Upper Ground Floor, Venkateshwara, CTS no. 3980, House no. 8/206, New Mondha, Hingoli, Maharashtra. 431513
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | BM Cabin | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
2 | ATM | 1.0 TR Hi Wall Unit | Nos. | 2 |  | 0
4 | Banking Area - 1 | 1.5 TR Hi Wall Unit | Nos. | 1 |  | 0
5 | Banking Area - 2 | 1.5 TR Hi Wall Unit | Nos. | 1 |  | 0
6 | Server Room | 1.0 TR Hi Wall Unit | Nos. | 2 |  | 0
8 | Back Office | 1.0 TR Hi Wall Unit | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR & 1.5TR |  | Nos. | 8 | 1500 | 12000
2 | Refrigeration Piping for Hi Wall Unit 1.0 TR & 1.5TR |  | Mtrs. | 69 | 750 | 51750
3 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 82 | 140 | 11480
4 | Drain Piping with 25mm Dia |  | Mtrs. | 72 | 100 | 7200
5 | Fabrication Stand for All AC's |  | KG's | 396 | 165 | 65340
6 | Scaffolding - 20FT Height (To Install Outdoor Units) |  | L/S | 1 | 8500 | 8500
7 | AC Timer |  | Nos. | 2 | 4000 | 8000
8 | Civil work for cutting chiesling of wall to conseal copper pipe, drain pipe electrical wire with plaster & Core Cutting |  | L/S | 1 | 5000 | 5000
D | TOTAL BASIC LOW SIDE |  |  |  |  | 169270
E | GST@ 18% |  |  |  |  | 30468.6
F | Total Low Side Value |  |  |  |  | 199738.6
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 199738.6
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
|  | Low side dealer Firm's Name : | Aeon Airconditioning Solutions
|  | Contact person 1 (Project Incharge) : | Ms. Pradnya Gaikwad
|  | Contact No. 1 : | 9137940454
|  | Contact person 2 (Propreitor) : | Mr. Asim Shaikh
|  | Contact No. 2 : | 9820580008
|  | Email Id : | asim.shaikh@aeonacsolutions.com
|  | Address : | Shop No. 6 & 7, Behind N cube china town, Ambedkar Rd., Thane W - 400604