## BOQ
Company Name :- |  | ICICI BANK |  |  | Date :- | 05.12.2024
Site Address: - Raj Nirvana SHOP 15 16 Opp. Anand Greenland, Pale Rd, behind Shiv Mandir, Ambernath, Maharashtra
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | ATM | 1.0 TR Hi Wall Unit | Nos. | 2 | 29500 | 59000
2 | Server Room | 1.0 TR Hi Wall Unit | Nos. | 2 | 29500 | 59000
3 | BM Cabin | 1.0 TR Hi Wall Unit | Nos. | 1 | 29500 | 29500
5 | Front Desk | 2.0TR Cassette Unit | Nos. | 2 | 80000 | 160000
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 307500
B | GST @ 28% |  |  |  |  | 86100
C | Total High Side Value |  |  |  |  | 393600
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR |  | Nos. | 5 | 15700 | 78500
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 2.0 TR |  | Nos. | 2 | 20710 | 41420
3 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 35 | 1050 | 36750
4 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 20 | 1200 | 24000
5 | Interconnecting Cable Indoor & Outdoor 4C/2.5Sqmm |  | Mtrs. | 80 | 250 | 20000
6 | Drain Pipe 32 mm PVC |  | Mtrs. | 10 | 140 | 1400
7 | Timer |  | Nos. | 2 | 5500 | 11000
8 | Wall Chiseling without filling |  | Mtrs. | 25 | 110 | 2750
D | TOTAL BASIC LOW SIDE |  |  |  |  | 215820
E | GST@ 18% |  |  |  |  | 38847.6
F | Total Low Side Value |  |  |  |  | 254667.6
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 648267.6
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
Lowside PO in the name of
Vakaria Airtech