## BOQ Walters
HVAC BOQ for Specialty Restaurants (Walters) - Daikin Airconditioning India Pvt Ltd
Site Name & Address | Walters, Pune
State | Maharashtra
Project Manager Name | Mr. Kanishka Mishra
BOQ - Hi Wall Option
Hi Side BOQ
Sr NO. | Area of Application | Machine Details | Unit | Qty | Basic Cost | Amount
1 | Store Area |  | No. | 2
Summary Of the Above
|  | 2.0 TR Cassette (3 Star Inv AC) | No. | 2 | 62500 | 125000
| Total Basic Cost |  |  |  |  | 125000
| GST ( SGST @9% and CGST@9%) |  | 18% |  |  | 22500
| GR Total Of Mahine Cost ( High Side) |  |  |  |  | 147500
Hi-Side PO TO BE CREATED ON THE NAME OF Daikin Airconditioning India Pvt Ltd
Low Side BOQ
Sr No. | Particulars |  | Unit | Qty | Basic Cost | Amount
1 | Installation, testing and commissioning of AC's (Ductable/ Cassette/ Hi Wall) including Pressure Testing and Vaccuming and refrigerant charging. Temporary Scaffold or staging required to support work crew shall be included in the cost
a | Installation of 2 TR Cassette Unit |  | No. | 2 | 3200 | 6400
2 | Supplying and installation of inter connecting Soft copper piping between indoor & outdoor units as per manufacturer specifications duly insulated with closed cell nitrile foam tabular insulation of 19mm thickness. All piping inside the room shall be properly supported with hanger in GI powder coated cable tray and exposed piping shall be properly supported in G.I. cable tray with top cover. All the exposed tube Insulation shall be covered with fibre glass cloth with acrlic compound. Price shall be inclusive of control and power cabling with earthing.
a | Cassette Machines |  | RMT | 76 | 1050 | 79800
3 | Supplying & laying of following Main incoming cable and earth, 1100 volt grade XLPE insulated PVC sheathed Copper conductor armoured cables as per specification in existing trenches, pipes, cable trays, ducts, over bed of sand, clamped to wall with suitable clamps including, saddles fixing bolts, connecting testing and commissioning complete in all respect as required as per site conditions. (BIS Marked only)
a | Electrical cable 4C/2.5sqmm |  | RMT | 80 | 160 | 12800
4 | Supplying and installation of UPVC pipe (heavy duty) with 13 mm thick nitrile rubber insulation with protective coating as per the approved shop drawings and specifications. All the exposed tube Insulation shall be covered with fibre glass cloth with acrlic compound. |  |  |  |  | 0
a | 32 mm Drain |  | RMT | 45 | 150 | 6750
5 | Core Cutting |  | NO | 2 | 2500 | 5000
5 | Supply and installation of 'L' Bracket type MS Stand for outdoor condensing units. The arrangement shall be provided with epoxy painting, cushy mounted vibration isolators as per site requirement. Temporary Scaffold or staging required to support work crew shall be included in the cost. |  |  |  |  | 0
a | Fabricated Table Top Outdoor Stand |  | NO | 2 | 4500 | 9000
| Total Basic Cost - Installation of HI wall & Cassette Ac |  |  |  |  | 119750
| GST ( CGST @9% and SGST @9%) |  | 18% |  |  | 21555
| Gr Total For Low Side |  |  |  |  | 141305
LOW SIDE PO TO BE CREATED ON THE NAME OF Daikin's Authorised Dealer as per below Details
Low side dealer Firm's Name : |  | Aeon Airconditioning Solutions
Low side dealer GST No. : |  | 27AYYPS2229K1ZK
Low side dealer Pan Number: |  | AYYPS2229K
Contact person 1 (Project Incharge) : |  | Amira Khan
Contact No. 1 : |  | 9137940454
Contact person 2 (Propreitor) : |  | Asim Shaikh
Contact No. 2 : |  | 9820580008
Email Id : |  | support@aeonacsolutions.com / asim.shaikh@aeonacsolutions.com
Address : |  | Office No.108 / 109 ,1st Floor, Deveshree Garden commercial complex , Above city dairy , Rutu park Thane 400601