## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Theobroma Foods Pvt. Ltd. |  |  | Date :- | 02.05.2026
Site Address: - Shop No. 03, Sumit Artista, CST Road, near McDonald's, Kolivery Village, Kunchi Kurve Nagar, Kalina, Santacruz East, Mumbai, Maharashtra 400098
Sr. No. | DETAILS OF MACHINES |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | 2.5 TR Cassette Unit |  | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 18% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 2.5 TR |  | Nos. | 1 | 3500 | 3500
2 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 15 | 1200 | 18000
3 | Interconnecting Cable Indoor & Outdoor Cassette Unit |  | Mtrs. | 15 | 190 | 2850
4 | Drain Pipe 32 mm PVC Pipe |  | Mtrs. | 12 | 190 | 2280
5 | Fabricated Platform stand |  | Nos. | 1 | 6000 | 6000
6 | Core Cutting |  | Nos. | 1 | 2500 | 2500 | IF REQUIRED
7 | Cable Tray 150X50 |  | Mtrs. | 12 | 1000 | 12000
D | TOTAL BASIC LOW SIDE |  |  |  |  | 47130
E | GST@ 18% |  |  |  |  | 8483.4
F | Total Low Side Value |  |  |  |  | 55613.4
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 55613.4
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals