## Sheet1
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Cholamandalam Investment & Finance Company Limited |  |  | Date :- | 13.02.2025
Address: -1st Floor, Gata No.288, Adishakti Tower, St. Bassils School, Puchpediya Road, Nanak Nagar, Basti (UP) – 272002
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Dimantling Of Existing Units |  | Nos. | 5 | 850 | 4250
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.0 TR & 1.5 TR |  | Nos. | 10 | 1600 | 16000
3 | Providing and laying Refrigerant Copper pipe with insulation Split |  | Mtrs. |  | 900 | 0
4 | Interconnecting Cable Indoor & Outdoor for Hi Wall Unit |  | Mtrs. |  | 160 | 0
5 | Drain Pipe 25 mm Thick Soft PVC Pipe for Hi Wall Unit |  | Mtrs. |  | 140 | 0
6 | AC Jet Pump Service |  | Nos. | 5 | 1000 | 5000
7 | Supply and Instalation of MS stand for Outdoor unit |  | Nos. | 10 | 900 | 9000
8 | MS Jali |  | Nos. |  |  | 0
9 | Gas Charging |  | Nos. | 5 | 850 | 4250
10 | Core Cutting |  | Nos. |  |  | 0
11 | Civil Work (Chiseling) |  | Mtrs. |  |  | 0
12 | PCB for Hi Wall unit 2.0TR |  | Nos. | 2 |  | 0
12 | Stabilizer 4.0 KVA (90V - 270V) with High Low cut off and Digital Display |  | Nos. | 2 | 2900 | 5800
13 | Stabilizer 5.0 KVA (90V - 270V) with High Low cut off and Digital Display |  | Nos. | 2 | 3800 | 7600
D | TOTAL BASIC LOW SIDE |  |  |  |  | 47650
E | GST@ 18% |  |  |  |  | 8577
F | Total Low Side Value |  |  |  |  | 56227