## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Jana Small Finance Bank Ltd |  |  | Date :- | 02.05.2026
Site Address: - Ground floor, Arjun Center, Gala No. 8, Deonar on Govandi Station Road, Bombay, Kurla Taluka. Mumbai, Maharashtra – 400 086
Sr. No. | Area Of Installation | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Workstation | 4.0 TR Cassette Unit | Nos. | 2 |  | 0
2 | Workstation | 1.5 TR Hi wall Unit | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 18% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Dismantaling of Existing Cassette Unit |  | Nos. | 2 | 2500 | 5000
2 | Dismantaling of Existing Hi Wall Unit |  | Nos. | 1 | 1200 | 1200
3 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi Wall Unit - 1.5 TR |  | Nos. | 1 | 1700 | 1700
4 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Cassette Unit - 4.0 TR |  | Nos. | 2 | 4500 | 9000
5 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 10 | 1100 | 11000
6 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 40 | 1250 | 50000
7 | Interconnecting Cable Indoor & Outdoor For 4 Core 2.5 Sqmm |  | Mtrs. | 55 | 190 | 10450
8 | Interconnecting Cable Indoor & Outdoor For 3C/2.5 Sqmm |  | Mtrs. | 55 | 175 | 9625
9 | Drain Pipe PVC Pipe for Hi Wall Unit |  | Mtrs. | 10 | 150 | 1500
10 | Drain Pipe PVC Pipe for Cassette Unit |  | Mtrs. | 8 | 165 | 1320
11 | Cable Tray 200X50 |  | Mtrs. | 10 | 1200 | 12000
12 | Lifting Shifting |  | Nos. | 1 | 1500 | 1500
D | TOTAL BASIC LOW SIDE |  |  |  |  | 114295
E | GST@ 18% |  |  |  |  | 20573.1
F | Total Low Side Value |  |  |  |  | 134868.1
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 134868.1
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals