## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Cholamandalam Investment & Finance Company Limited |  |  | Date :- | 22.10.2024
Site Address: - 2nd Floor, Shubra Complex, Mahuabagh, Ghazipur (UP) - 233001
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Hi-Wall Split AC - 1.5 TR & 1.8 TR |  | Nos. | 7 | 1500 | 10500
2 | Refrigeration Piping for Hi Wall Unit - 1.5 TR & 1.8 TR |  | Mtrs. | 240 | 850 | 204000
3 | Interconnecting Cable Indoor & Outdoor for Hi-Wall |  | Mtrs. | 254 | 140 | 35560
4 | Drain Pipe - 25mm Thick Hard PVC |  | Mtrs. | 120 | 140 | 16800
5 | Outdoor Unit Stand for Hi Wall AC |  | Nos. | 7 | 800 | 5600
6 | Automatic Voltage Stabilizer 4KVA |  | L/S | 2 | 4200 | 8400
7 | Automatic Voltage Stabilizer 5KVA |  | Nos. | 5 | 5500 | 27500
8 | Supply and Installation of 300 mm X 150 mm Cable Tray |  | Mtrs. | 10 | 850 | 8500
9 | Chiseling Work |  | Mtrs. | 110 | 150 | 16500
B | TOTAL BASIC LOW SIDE |  |  |  |  | 333360
| GST@ 18% |  |  |  |  | 60004.8
| Total Low Side Value |  |  |  |  | 393364.8
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals