## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Chaayos |  |  | Date :- | 16.01.2025
Site Address: - 7VW8+2X, Balaji Heights, Mira Road East, Mira Bhayandar, Maharashtra 401107
Sr. No. | DETAILS OF MACHINES |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | 2.2 TR Hi Wall Unit |  | Nos. | 1 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of 2.2 TR Hi Wall Unit |  | Nos. | 1 | 1500 | 1500
2 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 22 | 850 | 18700
3 | Interconnecting Cable Indoor & Outdoor |  | Mtrs. | 23 | 150 | 3450
4 | Drain Pipe 25 mm PVC Pipe |  | Mtrs. | 7 | 150 | 1050
5 | Outdoor Unit Table Type Stand |  | Nos. | 1 | 950 | 950
6 | Cable Tray 150mm |  | Mtrs. | 8 | 650 | 5200
D | TOTAL BASIC LOW SIDE |  |  |  |  | 30850
E | GST@ 18% |  |  |  |  | 5553
F | Total Low Side Value |  |  |  |  | 36403
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 36403
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals