## SUMMARY
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name |  | Dated | 2024-09-11
DP World
Site Address: - XX36+42X, Container Gate, Sheva, Navi Mumbai, Maharashtra 400707
SR. NO. | ITEM | BOQ AMOUNT (Rs) | BOQ GST (Rs) | BOQ AMOUNT WITH GST (Rs)
HIGH SIDE
| TOTAL HIGH SIDE | 225550 | 63154 | 288704
LOW SIDE
| TOTAL LOW SIDE | 149940 | 26989.2 | 176929.2
| TOTAL HIGH SIDE + LOW SIDE | 375490 | 90143.2 | 465633.2

## LOW SIDE
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 2024-09-11
DP World
Site Address: - XX36+42X, Container Gate, Sheva, Navi Mumbai, Maharashtra 400707
BILL OF QUANTITIES
LOW SIDE WORK
Sr. No. | Description | Unit | QTY. | BASIC RATE | AMOUNT
A | Standard Installation Charges for VRV Outdoor Units
1 | Labour charges towards Installation of 6 HP VRV Outdoor Unit. | Nos | 1 | 6000 | 6000
B | Standard Installation, Testing & Commissioning Charges for VRV Indoor Units
1 | Labour charges towards Installation of VRV Hi Wall AC Indoor Unit 2.08 TR | Nos | 2 | 1650 | 3300
2 | Labour charges towards Installation of Hi Wall AC Unit 2.0 TR | Nos | 1 | 1650 | 1650
3 | Labour charges towards Nitrogen Pressure Testing, vaccuming, gas charging and Commissioning of 6 HP VRV ODU & IDUs | Nos | 1 | 4500 | 4500
C | Installtion IDU Refnets (Y-Distribution) Joints for Units | Nos | 1 | 500 | 500
D | Refrigerant Piping with Rubber Nitrile insulation
1 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for VRV Units | Rmt | 30 | 1650 | 49500
2 | Supply & Labour Charges towards Copper Piping with Nitrile Insulation for NVRV Units | Rmt | 20 | 850 | 17000
E | Control Cable :
1 | Supply & Labour towards Communication Cable betweem IDU to ODU 2 Core 1.0 Sqmm with conduits for VRV Units | Rmt | 39 | 150 | 5850
2 | Supply & Labour towards Communication Cable betweem IDU to ODU 4 Core 2.5 Sqmm conduits for NVRV Units | Rmt | 21 | 140 | 2940
3 | Supply & Labour towards Power Cable betweem IDU to ODU 3 Core 1.5 Sqmm | Rmt | 6 | 150 | 900
F | Drain Pipe :
1 | Supply & Labour charges towards PVC Drain Piping 40mm | Rmt | 20 | 140 | 2800
G | Supply & Labour towards Indoor Drain Pump | Nos | 3 | 6000 | 18000
H | Timer with Relay | Nos | 1 | 4500 | 4500
I | Supply of Miscll. Accessories for completing the installation works | Set | 1 | 5000 | 5000
J | Civil Works (POP Cutting, Painting) | Set | 1 |  | 0 | Not in our scope
K | Lifting Shifting VRV ODU & IDU on all floors | Lot | 1 | 8000 | 8000
L | Transportation of spares and materials | Set | 1 | 2500 | 2500
M | Additional Refrigerant Charging as per copper length. | Kg's | 8 | 950 | 7600
N | Outdoor Unit Stand for 2.0 TR NVRV unit | Nos | 1 | 900 | 900
O | Fabrication of Outdoor Unit Stand for 6 HP VRV unit | Nos | 1 | 8500 | 8500
Total Basic Low side for machine installation |  |  |  |  | 149940
GST 18% |  |  |  |  | 26989.2
Total (Low Side) |  |  |  |  | 176929.2
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals
9 | All Electrical power cables and power points will under the customer scope.

## HIGH SIDE
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated |  | 2024-09-11
DP World
Site Address: - XX36+42X, Container Gate, Sheva, Navi Mumbai, Maharashtra 400707
BILL OF QUANTITIES
HIGH SIDE WORK
Sr. No. | DETAILS OF MACHINES | UNIT | QTY. | BASIC RATE | AMOUNT
Supply and Installation of Daikin VRV Airconditioners
A | Daikin Outdoor Units
1 | Supply of Daikin Make 6 HP VRV Outdoor Unit Top Discharge - RXQ6ARV16 | Nos. | 1 | 133922 | 133922
B | Daikin Indoor Units
1 | Supply of Daikin Make VRV Hi Wall AC Indoor Unit 2.08 TR - FXAQ63ARVE6 | Nos. | 2 | 26564 | 53128
2 | Supply of Daikin Make 3 star Hi Wall AC Unit 2.0 TR | Nos. | 1 | 36000 | 36000
C | IDU Refnut Joints | Nos. | 1 | 2500 | 2500
Sub Total |  |  |  |  | 225550
GST 28% |  |  |  |  | 63154
Total (High Side) |  |  |  |  | 288704

## TERMS AND CONDITIONS
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning solutions.
Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg, Above Sheetal Dairy,
Rutu Park, Thane - 4000601, Maharashtra. Email: services@aeonacsolutions.com / projects@aeonacsolutions.com Mob. No. - 9322334106 / 9322334108
| Company Name | Dated | 2024-09-11
DP World
Site Address: - XX36+42X, Container Gate, Sheva, Navi Mumbai, Maharashtra 400707
BILL OF QUANTITIES
LOW SIDE WORK
Note:-
1 | Terms of Payments:
2 | High Side - 100% Advance with Taxes along with the Purchase order.
Low Side - 50% Advance with Taxes along with work order
30% with Taxes against after delivery of material
20% with Taxes against after completion of work.
The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
3 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
4 | Drain Pump or any item not listed if required will cost extra
5 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
6 | Any Civil Work is not in our scope. If required will be charged extra
7 | Lifting and Shifting if required will be Extra
8 | Any additional taxes if applicable will be extra
9 | This is Estimated Quotation post site survey, Billing will be as per actuals
10 | All Electrical power cables and power points will under the customer scope.