## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Third Wave Coffee |  |  | Date :- | 24.10.2024
Site Address: - Shop No. 8, Ekta Tripolis, Motilal Nagar, Goregaon West, Mumbai, Maharashtra 400 104
Sr. No. | DETAILS OF MACHINES |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | 3.0 TR Cassette Unit |  | Nos. | 2 |  | 0
2 | 2.0 TR Hi Wall Unit |  | Nos. | 2 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of 3.0 TR Cassette Unit |  | Nos. | 2 | 2000 | 4000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of 2.0 TR Hi Wall Unit |  | Nos. | 2 | 1700 | 3400
3 | Supply and Installation of Mounting Arrangement |  | Nos. | 2 | 1500 | 3000
4 | Refrigeration Piping for Cassette Unit |  | Mtrs. | 35 | 1000 | 35000
5 | Refrigeration Piping for Hi Wall Unit |  | Mtrs. | 24 | 980 | 23520
6 | 4 Core Interconnecting Cable Indoor & Outdoor 2.5 Sqmm |  | Mtrs. | 65 | 175 | 11375
7 | Drain Pipe 25 mm Thick Soft PVC Pipe |  | Mtrs. | 15 | 140 | 2100
8 | Drain Pipe 32 mm Thick Soft PVC Pipe |  | Mtrs. | 25 | 160 | 4000
9 | Outdoor Unit Stand L -Type Hi Wall Unit |  | Nos. | 2 | 1050 | 2100
10 | Outdoor Unit Jumbo Stand Cassette Unit |  | Nos. | 2 | 1500 | 3000
11 | Cable Tray 150 X 50 |  | Mtrs. | 35 | 750 | 26250
12 | Core Cutting 150 X 50 |  | Nos. | 2 | 2000 | 4000 | If Required, Not in RC
D | TOTAL BASIC LOW SIDE |  |  |  |  | 121745
E | GST@ 18% |  |  |  |  | 21914.1
F | Total Low Side Value |  |  |  |  | 143659.1
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 143659.1
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals