## BOQ
AEON AIRCONDITIONING SOLUTIONS
Complete Airconditioning Solutions.
Office Address :- Office No. 108 & 109, Devashree Garden Commercial Complex, R.W. Sawant Marg,
Above Sheetal Dairy, Rutu Park, Thane - 4000601, Maharashtra. Phone - 9322334106 / 9137940454
Client Name
Company Name :- |  | Krsnaa Diagnostics Ltd |  |  | Date :- | 18.06.2024
Site Address: - MRI Department Ward No.9, Hindurudhay Balasaheb Thakrey Trauma Care Municipal Hospital. Jogeshwari East. Mumbai 400060
Sr. No. | DETAILS OF MACHINES |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | 5.5 TR Ductable Unit |  | Nos. | 2 |  | 0
A | TOTAL BASIC HIGH SIDE |  |  |  |  | 0
B | GST @ 28% |  |  |  |  | 0
C | Total High Side Value |  |  |  |  | 0
LOW SIDE WORK
Sr. No. | PARTICULARS |  | UNIT | QTY. | BASIC RATE | AMOUNT
1 | Dismantling of Existing Ductable Unit - 5.5 TR |  | Nos. | 2 | 3500 | 7000
2 | Standard Installation, Pressure Testing, Vacummizing, Testing & Commissioning of Ductable Unit - 5.5 TR |  | Nos. | 2 | 5500 | 11000
3 | Refrigeration Piping for Ductable Unit - 5.5 TR |  | Mtrs. | 25 | 1550 | 38750
4 | Interconnecting Cable 7 Core Indoor & Outdoor |  | Mtrs. | 29 | 290 | 8410
5 | Drain Pipe 40 mm Thick Soft PVC Pipe |  | Mtrs. | 7 | 190 | 1330
6 | Outdoor Unit Table Stand For Ductable Unit |  | Nos. | 2 | 8500 | 17000
7 | Ducting Modification |  | Nos. | 2 | 8500 | 17000
D | TOTAL BASIC LOW SIDE |  |  |  |  | 100490
E | GST@ 18% |  |  |  |  | 18088.2
F | Total Low Side Value |  |  |  |  | 118578.2
G | TOTAL VALUE HIGH SIDE + LOW SIDE (C + D) |  |  |  |  | 118578.2
Note:-
1 | The above quotation (Quantity & Numbers) is basis identified ODU & IDU placement
2 | Any change in ODU or IDU will result in change of Quotation (Quantity or Numbers) and therefore rates
3 | Drain Pump or any item not listed if required will cost extra
4 | In case of any additional item not listed above or additional quantity of listed items is required at the time of implimentation will be charged extra post seeking required approvals
5 | Any Civil Work is not in our scope. If required will be charged extra
6 | Lifting and Shifting if required will be Extra
7 | Any additional taxes if applicable will be extra
8 | This is Estimated Quotation post site survey, Billing will be as per actuals